	INSPECTION AND TEST PLAN
	[image: image1.png]NEWLANDS

GLENCORE





	TOPSOIL SPREAD
	DOMAIN: 
	1510_Ramp 4
	

	PROJECT:
	NEWLANDS CLOSURE PROJECT
	Lot No: 
	25-40
	



	REQUIREMENTS
	VERIFICATION

	No.
	INSPECTION/TEST POINT
	TYPE
	CONFORMANCE CRITERIA
	FREQUENCY
	RECORDS
	BY
	INITIAL/DATE
	REMARKS

	1
	Design/ Lot Plan 
	Written
	Hold Point
· Topsoil Placement Plan approved/signed
· Balance of topsoil needed for placement on design lots ____ m3

· Source of topsoil stockpiles required to complete topsoil plan, stockpile no. ____
· Slope Conformance is accepted

	Each Plan
	· Approved Design/ Lot Plan  
	RE

CE
	
	

	2
	Landform Approval / Inspection
	HP
	Site Inspection
	Hold Point

· Has material testing been conducted?
· Have treatment recommendations been completed?

	As required
	· Hold Point

· Inspection
· Reference/link to material testing document

	SS

CE
	
	

	3
	Authority to Proceed
	Written
	
	· Review all underlying works are complete 
	Each Lot
	
	CE

SMS
	
	

	4
	Topsoil Treatment and Spread works 
	WP
	
	Witness Point
· Lot sizes assigned to topsoil plan
· Verification of topsoil application depth every 10Ha

	As required
	· Witness Point

· Inspection
· Photo Evidence 

	SS

CE
	
	

	5
	Work Complete
	Written
	· Works have been completed to meet the approved topsoil placement plan 

· Was a treatment plan required?

· Boundary Polygons verified and approved

	Each lot
	· Inspection


	CE

SU
	
	

	6
	Lot Closed
	Written
	· Lot/lot’s conform to specifications

· All NCRs / treatment plans actioned 
· All conformance reports 
	Each lot
	· Conformance reports 
· Photos
	RE
	
	

	REFERENCES:   



	CE = Compliance Eng. 

PM = Project Manager 
SMS = Senior Mine Scheduler

SU = Surveyor 
	RE = Rehabilitation Engineer 
SS = Site Supervisor
PER = Project Env. Rep.
	SR = Superintendent’s Rep
SG = Senior Geologist
PE = Project Engineer
	HP = Hold Point
WP = Witness Point
M = Milestone
	Document Number
Revision
Part Of 
	ITP
Rev2
Stage 5

	NCP-NC-1510-CV-ITP-0031 – S5
	Page 1 of 1



[image: image1.png]