| Tag No: «Name» - «Description» | Task No. «TaskName» |
| --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |
| Drawing No. «DocumentList» |  |
| Additional Information: «Comments» |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm set out, alignment & levels of footings/ foundation set out as per drawings and survey. |  |  |  |
|  | Confirm ant caps installed on footings. |  |  |  |
|  | Confirm termite barrier in place. |  |  |  |
|  | Confirm cyclone tie downs installed as per drawing/ specification. |  |  |  |
|  | Confirm accommodation unit alignment & levels checked – survey. |  |  |  |
|  | Confirm footpath surfacing complete & gradient is as per drawing/ specification. |  |  |  |
|  | Confirm veranda concrete is broom finished as per drawings. |  |  |  |
|  | Confirm expansion joints installed in veranda & footpath concrete as per drawings. |  |  |  |
|  | Confirm veranda installation as per drawing/ specifications- including sheeting & flashing. |  |  |  |
|  | Confirm hot water system installed & secured correctly. |  |  |  |
|  | Confirm air conditioner unit installed & secured correctly. |  |  |  |
|  | Confirm window fly wire installed correctly. |  |  |  |
|  | Confirm fly wire door installed correctly opens & closes without restriction. |  |  |  |
|  | Confirm fly wire door lock is functional. |  |  |  |
|  | Confirm entry door opens & closes without restriction. |  |  |  |
|  | Confirm entry door lock is functional. |  |  |  |
|  | Confirm building plumbing is connected correctly to underground services. |  |  |  |
|  | Confirm potable water is connected to underground services. |  |  |  |
|  | Confirm communications cables correctly connected to underground services. |  |  |  |
|  | Confirm all floor penetrations sealed. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |