| Tag No: «Name» - «Description» | Task No. «TaskName» |
| --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |
| Drawing No. «DocumentList» |  |
| Additional Information: «Comments» |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm no marks or damage to walls. |  |  |  |
|  | Confirm no marks or damage to flooring. |  |  |  |
|  | Confirm no marks or damage to ceiling. |  |  |  |
|  | Confirm windows & curtains installed correctly. |  |  |  |
|  | Confirm bathroom door is installed correctly & is functional. |  |  |  |
|  | Confirm toilet & cistern installed correctly. |  |  |  |
|  | Confirm wash basin & vanity installed correctly. |  |  |  |
|  | Confirm shower cubicle installed correctly. |  |  |  |
|  | Confirm shower caddy installed correctly (where applicable). |  |  |  |
|  | Confirm entry door & hardware installed correctly & functional. |  |  |  |
|  | Confirm refrigerator installed correctly. |  |  |  |
|  | Confirm bed & mattress installed correctly. |  |  |  |
|  | Confirm bed lamp installed. |  |  |  |
|  | Confirm air conditioner installed correctly & remote supplied. |  |  |  |
|  | Confirm smoke detector installed correctly. |  |  |  |
|  | Confirm all lighting installed correctly. |  |  |  |
|  | Confirm desk & shelving installed correctly. |  |  |  |
|  | Confirm phone/ internet points installed correctly. |  |  |  |
|  | Confirm desk chair installed correctly. |  |  |  |
|  | Confirm storage cupboards with hangars installed correctly. |  |  |  |
|  | Confirm TV installed correctly & remote supplied. |  |  |  |
|  | Confirm lounge supplied (where applicable). |  |  |  |
|  | Confirm coffee table supplied (where applicable). |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |