| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

- \

| ITP Ref / No.: |  |
| --- | --- |
| Location / Lot |  |

| Item No | Description | Completed by |  |  |  | Accepted by |  |  |  | Comment |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| ITEMS TO BE CHECKED PRIOR TO APPROVAL |  |  | Initials |  | Date |  | Initials |  | Date |  |  |  |
|  | All approvals in place prior to commencing deconstruction works? |  |  |  |  |  |  |  |  |  |  |
|  | Supply and erect temporary construction fencing and signage around the site to be deconstructed? |  |  |  |  |  |  |  |  | Photo |  |
|  | All services (electrical power and water) isolated (by others) prior to commencing works? |  |  |  |  |  |  |  |  |  |  |
| Hold Point | Have items 1-3 been checked |  |  |  |  |  |  |  |  |  |  |
|  | Disconnect services to existing facilities to be removed from new work areas, and pull redundant electrical cable back to source & remove |  |  |  |  |  |  |  |  |  |  |
|  | Remove raised walkways from around the two (2) existing shower ablution blocks to be removed and dispose of steel work (to Pannawonica tow waste disposal site) |  |  |  |  |  |  |  |  | Waste Disposal docket |  |
|  | Cut back raised walkway at existing small locker room to remain. |  |  |  |  |  |  |  |  |  |  |
|  | Install safety handrailing along the open edge of access walkway remaining |  |  |  |  |  |  |  |  | Photo |  |
|  | Install adequate walkway supports as required and determined on site |  |  |  |  |  |  |  |  | Photo |  |
|  | Remove the two (2) shower/ablutions buildings (and concrete foundation blocks) and deliver/offload at the Pannawonica Town Rodeo Site, as directed by the Engineer |  |  |  |  |  |  |  |  |  |  |
|  | Secure relocated buildings for cyclone tie-down with suitable concrete blocks, chains and shackles |  |  |  |  |  |  |  |  | Photo |  |
|  | Relocate redundant concrete blocks to storage as directed by the Engineer |  |  |  |  |  |  |  |  |  |  |
|  | Break up and remove existing concrete ground slab (allow for concrete slab thickness of 100mm) and prepare area for new facilities/works |  |  |  |  |  |  |  |  | Photo |  |
|  | Pothole to positively identify any existing services in the area of deconstruction |  |  |  |  |  |  |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (NO PUNCHLIST ITEMS TO BE INCLUDED HERE) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |