| Tag No: «Name» - «Description» |  |  |  |  | Task No. «TaskName» |
| --- | --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |  |
| Drawing No. «DocumentList» |  |  |  |  |  |
| Additional Information: «Comments» |  |  |  |  |  |
| Area: | Pannawonica Village |  | Room/s: |  |  |
|  | “P” Block |  |  |  |  |
|  | “R” Block |  |  |  |  |
|  | Gascoyne Complex |  |  |  |  |
|  | G & H Blocks |  |  |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
| Removal of single wardrobes from room |  |  |  |  |
|  | Confirm room requires wardrobe conversion |  |  |  |
|  | Check room for any pre-existing damage (take photos of any damage) |  |  |  |
|  | Remove single wardrobe from room and dispose of accordingly |  |  |  |
|  | Remove any wall fixings used for single wardrobe |  |  |  |
|  | Repair (patch) any damage to walls left by single wardrobe installation |  |  |  |
| Once items 1-5 completed, please proceed to the following items: |  |  |  |  |
|  | Confirm single wardrobe has been replace with new double wardrobe |  |  |  |
|  | Confirm new double wardrobe dimensions as follows: |  |  |  |
|  | - Height – 1,800mm? |  |  |  |
|  | - Width – 1,200mm? |  |  |  |
|  | - Depth – 600mm? |  |  |  |
|  | Hanging rails for shirts over open cover |  |  |  |
|  | Two (2) shelves included at bottom of wardrobe |  |  |  |
|  | Digital (10 pin) with key to each wardrobe door – Kit-Lock KL 1000 |  |  |  |
|  | Wardrobe external Facing - |  |  |  |
|  | - Colour – “Artisan Oak” with 1mm ABS edging |  |  |  |
|  | - Satin “D” Chrome Handles |  |  |  |
|  | Cabinet Internals |  |  |  |
|  | - 16mm Melamine with 1mm ABS edging |  |  |  |
|  | - Colour – “Artisan Oak” |  |  |  |
| Once item 6-12 above have been confirmed, please complete following: |  |  |  |  |
|  | Confirm wardrobe has been secured to the wall |  |  |  |
|  | Confirm door hinges operating correctly, no damage |  |  |  |
|  | Confirm correct alignment of wardrobe doors? (i.e. the doors open with catching on anything, door installed level) |  |  |  |
|  | Check for any damage to walls surrounding wardrobe installation? |  |  |  |
|  | Check wardrobe external for any damage during installation |  |  |  |
|  | Check wardrobe internal for any damage during installation |  |  |  |
|  | Check door locks are operational (i.e. batteries installed, PIN number locks work) |  |  |  |
|  | Clean area of construction debris |  |  |  |
|  | Check room is clean and tidy after wardrobe installation |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |