| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

| ITP Ref / No.: |  |
| --- | --- |
| Location / Area / Lot |  |

| GENERAL DATA |  |  |  |
| --- | --- | --- | --- |
| GA Drawing |  | Section Drawing |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
| Field Checks |  |  |  |  |
|  | Anchor bolt positions correct and checked against drawing |  |  |  |
|  | Anchor bolts vertical/plumb |  |  |  |
|  | Anchor bolts projection correct |  |  |  |
|  | Anchor bolt threads clean and undamaged |  |  |  |
|  | Survey of all anchor bolts completed |  |  |  |
|  | Other embedded items checked and correct |  |  |  |
|  | All sleeves to be checked and completed before grouting commences |  |  |  |
|  | Block-outs cleaned and protected from ingress of debris |  |  |  |
| Document Checks |  |  |  |  |
|  | Anchor bolt positions marked-up on drawing ‘AS-BUILT’ and attached |  |  |  |
|  | Survey Report of anchor bolts attached |  |  |  |

| REMARKS / REMEDIAL ACTION REQUIRED |  |  |  |
| --- | --- | --- | --- |
| Item | Description | Rectified Date | Signature |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punch List Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |