| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

| ITP Ref / No.: |  |
| --- | --- |
| Location / Area / Lot: |  |

| Item No | Description | Completed by |  | Accepted by |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| ITEMS TO BE CHECKED PRIOR TO APPROVAL |  | Initials | Date | Initials | Date |  |
|  | Set out as per design drawings |  |  |  |  |  |
|  | Excavation Marked as per Drawing |  |  |  |  |  |
|  | Excavation – clean up and compaction complete |  |  |  |  |  |
|  | NATA approved compaction testing on site or Penetrometer as per SS-C101 |  |  |  |  |  |
|  | Fill material conditioned to suit RVS-0000-SPE-Y-001 and AS1289. |  |  |  |  |  |
|  | Fill material sampled for testing (if applicable) |  |  |  |  |  |
|  | Compaction testing for each 300mm layer by NATA approved testing lab or if sand by Penetrometer |  |  |  |  |  |
|  | Fill material Laid in Correct Layers |  |  |  |  |  |
|  | Plate bearing testing / MMDD testing complete as per specification |  |  |  |  |  |
|  | Excavation depth and width is in accordance with drawing and specification |  |  |  |  |  |
|  | Service installation test records (pipes, cables, etc) completed before backfilling |  |  |  |  |  |
|  | Marker tape placed where required for any buried services |  |  |  |  |  |
|  | Finished levels surveyed and correct to drawing |  |  |  |  |  |
|  | Liner installed as per the drawings and specification |  |  |  |  |  |
|  | Liner holiday tested, approved and report attached |  |  |  |  |  |
|  | Concrete headwall completed as per design drawings |  |  |  |  |  |
|  | Safety scramble matting installed as per design drawings |  |  |  |  |  |
|  | Conveyor belt installed for scour protection as per design drawings |  |  |  |  |  |
|  | Conveyor belt installed for mechanical protection from installed services as per design drawings |  |  |  |  |  |
|  | Lifebuoy and lifebuoy cabinets installed as per design drawings |  |  |  |  |  |
|  | All anchor blocks installed as per design drawing |  |  |  |  |  |
|  | Emergency overflow rock pitching completed as per design drawings and Specification RVS-0000-SPE-Y-001 |  |  |  |  |  |
|  | Fencing and gates installed as per design drawings. C1.004 Fencing ITR completed and approved. |  |  |  |  |  |
|  | Photos attached to the test records |  |  |  |  |  |
|  | Marked up drawing attached |  |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (NO PUNCHLIST ITEMS TO BE INCLUDED HERE) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |