| Tag No. «Name» - «Description» |  | Task No. «TaskName» |
| --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |
| Additional Information: | «Comments» |  |
| GENERAL DATA |  |  |
| Layout Drawing 1: | Layout Drawing 2: | Layout Drawing 3: |

| AREA LIGHTING PRE CHECKS |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
| Test Note: General arrangement or layout drawings must be attached to this ITR clearly detailing area description and test locations (Area Number) with design & Actual results recorded in the table below. RTIO Standards take precedence over Australian Standards unless otherwise accepted. |  |  |  |  |
|  | Confirm RTIO Area lighting level standard SS-E110 Appendix A available. |  |  |  |
|  | Confirm latest As-constructed drawings available. |  |  |  |
|  | Confirm GA / Layout drawings split into sample areas and test grid numbered. |  |  |  |

| AREA LIGHT LEVEL RECORDING |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment: |  | Serial No.: |  |  |  | Cal. Date: |  |
| Area Description | Area No. |  | Time | SS-E110 App A Required Level | Actual Lux Reading |  | Pass/Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |
|  |  |  |  |  |  |  | Pass Fail |

| COMPLETION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm lighting level results are within design parameters. |  |  |  |

| EMERGENCY LIGHTING PRE CHECKS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description |  | OK | N/A | Punch |
| Test Note: Lighting layout drawings and distribution board drawings must be attached to this ITR clearly detailing area description, distribution board and circuit identification with Pass Fail results recorded in the table below. Depending on Area type different lighting circuits may have different test durations. Please indicate on the circuit number the test duration if different from the overall ITR test duration check box. |  |  |  |  |  |
|  | Confirm RTIO Area emergency lighting standard SS-E110 Section 7.10 is available. Emergency Lighting is to comply with AS/NZS 2293 |  |  |  |  |

| EMERGENCY LIGHTING |  |  |  |
| --- | --- | --- | --- |
| Emergency Lighting Test Duration: 120 min 90 min 60 min 30 min Other ______________ |  |  |  |
| Local Maintained Fittings | Centralised Battery (UPS) System |  |  |
| Area Description | Distribution Board | Circuit No. | Pass/Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  |  |  | Pass Fail |
|  | UPS System % Battery at end of Test _____% |  |  |

| COMPLETION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm the Emergency Lighting timed test results are within design parameters. |  |  |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | Initial | N/A | Comments |
|  | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |
|  | This form must be completed by an Authorised Electrical Worker. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| EW Licence No.: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |