| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Drawing No. | «DocumentList» |  | Task No. | «TaskName» |
| Additional Information: |  | «Comments» |  |  |

| BOLTED CONNECTION TORQUE CHECKS |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Panel I.D./ Structure I.D. | Joint I.D./ Section I.D. | Phase/ Bolt I.D. | Bolt Size [mm] | Flat & Spring or Belleville washer & Flat washer | Bolt Grade | Required Tension [Nm] | Applied Tension [Nm] | Part- Turn Check (Structural) |

| TEST EQUIPMENT |  |  |  |  |
| --- | --- | --- | --- | --- |
| Test Equipment |  | Serial No. |  | Calibration Due Date |
| TORQUED CONNECTIONS WITNESSED BY |  |  |  |  |
| Name: |  |  | Title: |  |
| Signature: |  |  | Date: |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | Initial | N/A | Comments |
|  | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |
|  | This form must be completed by an Authorised Electrical Worker. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| EW Licence No.: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |