| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Drawing No. | «DocumentList» |  | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |  |
| GENERAL DATA |  |  |  |  |
| Pit Layout Drawing No: |  | Standard Drawing - MA-0000-E-1118 Electrical Pit Communications Pit |  |  |

| Item | Description |  | OK | N/A | Punch |
| --- | --- | --- | --- | --- | --- |
| PHYSICAL CHECKS |  |  |  |  |  |
|  | As per standard Confirm pit is of the correct type for application |  |  |  |  |
|  | Confirm pit position is as per design. |  |  |  |  |
|  | Confirm pit orientation is as per design. |  |  |  |  |
|  | Confirm pit set at correct height to surroundings. |  |  |  |  |
|  | As per standard drawing confirm pit and pit lid sit proud of surrounding finished ground level. |  |  |  |  |
|  | Confirm pit compaction achieved. |  |  |  |  |
|  | Confirm drainage material installed correctly. |  |  |  |  |
|  | Confirm drain hole has been installed and is clear of obstructions. |  |  |  |  |
|  | Confirm conduits are correctly sealed and protrude into pits. |  |  |  |  |
|  | Confirm spare conduits are sealed. |  |  |  |  |
|  | Confirm lid has correct identifying labelling. |  |  |  |  |
|  | Confirm pit clear of debris. |  |  |  |  |
|  | Confirm cable sub duct/barriers in place as required. |  |  |  |  |
|  | Confirm pit external mechanical protection installed as per drawings (bollards etc.). |  |  |  |  |
|  | Confirm pit lid locking mechanism in place as applicable. |  |  |  |  |
| DIGITAL PHOTOGRAPHS |  |  |  |  |  |
| Photo ID |  | Description |  | Taken By |  |

| COMPLETION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm Pit covers are replaced. |  |  |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | Initial | N/A | Comments |
|  | All site modifications correctly marked up on drawings and model as per project procedures. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |