| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Cable Type: | «CableType» |  | Cable Rating: | «CableVoltage» |
| Cores: | «CableNumConductors» | Cable Size: | «CableSize» |  |
| From: | «CableFrom» | To: | «CableTo» |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

| Item | Description |  |  |  |  | OK | N/A | Punch |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Confirm that cable is numbered correctly at both ends as per the cable schedule and goes to correct location. |  |  |  |  |  |  |  |
|  | Confirm cable size and type is correct as per the cable schedule. |  |  |  |  |  |  |  |
|  | Confirm single core cables have been installed in trefoil formation. |  |  |  |  |  |  |  |
|  | Confirm cable support and enclosure systems are satisfactory and secure. |  |  |  |  |  |  |  |
|  | Confirm cable bending radius has not been exceeded. |  |  |  |  |  |  |  |
|  | Confirm adequate cable lengths at either end have been left for future terminations. |  |  |  |  |  |  |  |
|  | Confirm cable installation completed satisfactorily. |  |  |  |  |  |  |  |
| DIGITAL PHOTOGRAPHS (Photos to be attached confirming cable lengths at joint or termination locations and cable end protection) |  |  |  |  |  |  |  |  |
| Photo ID |  |  | Description |  | Taken By |  |  |  |
| CONTINUITY TEST |  |  |  |  |  |  |  |  |
| POINT TO POINT & CONTINUITY TEST |  |  |  |  |  |  |  |  |
| Test Equipment: |  | Serial No.: |  | Calibration Date: |  |  |  |  |
| Test Connections |  | Point to Point Check (Initial Pass/Fail) |  | Continuity Check – Result Ω |  |  |  |  |
| R-R:Scn |  |  |  | Ω |  |  |  |  |
| B-B:Scn |  |  |  | Ω |  |  |  |  |
| W-W:Scn |  |  |  | Ω |  |  |  |  |
|  |  | Phase Point to Point Confirmed Y N |  | Continuity Confirmed Y N |  |  |  |  |

| CONDUCTOR INSULATION RESISTANCE (IR) TEST |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment |  |  | Serial No. |  |  | Calibration Date: |  |  |  |  |
| Test Point | R to R:Screen | B to B:Screen | W to W:Screen |  | R/W/B to Screen |  |  |  |  |  |
| Test Voltage | 5 kVDC | 5 kVDC | 5 kVDC |  | 5 kVDC |  |  |  |  |  |
| Test Duration |  |  |  |  |  |  |  |  |  |  |
| Result (MΩ) | MΩ | MΩ | MΩ |  | MΩ |  |  |  |  |  |
| Refer to SS-E115 for Test Durations and Test Pass Fail Criteria |  |  |  |  |  |  | Pass |  | Fail |  |

| SHEATH INTEGRITY (IR) TEST |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment |  |  | Serial No. |  |  | Calibration Date: |  |  |  |  |
| Test Point | R:Screen to Earth | W:Screen-Earth | B:Screen-Earth |  | R/W/B:Screen - Earth |  |  |  |  |  |
| Test Voltage | 1 kVDC | 1 kVDC | 1 kVDC |  | 1 kVDC |  |  |  |  |  |
| Test Duration |  |  |  |  |  |  |  |  |  |  |
| Result (MΩ) | MΩ | MΩ | MΩ |  | MΩ |  |  |  |  |  |
| Refer to SS-E115 for Test Durations and Test Pass Fail Criteria |  |  |  |  |  |  | Pass |  | Fail |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm cables are fully discharged from testing. |  |  |  |
|  | Confirm cables are suitably numbered, identified and phasing marked. |  |  |  |
|  | Confirm all cable ends are suitably capped and protected from the ingress of moisture and environmental elements. |  |  |  |
|  | Confirm cables are suitably protected, supported and windrowed where applicable to ensure segregation between personal and vehicular traffic. |  |  |  |
|  | Confirm conduit entries are suitability covered/filled. |  |  |  |
|  | If applicable, confirm pit covers are replaced. |  |  |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | Initial | N/A | Comments |
|  | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |
|  | This form must be completed by an Authorised Electrical Worker. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| EW Licence No.: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |