| Tag No. «Name» - «Description» |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |  |  |
| Manufacturer. |  | «ManufacturerName» |  | Model No. | «OEMPartNumber» |  |
| Field to record Serial No. |  | «SerialNumber» |  |  |  |  |
| Drawing No. |  | «DocumentList» |  | Task No. | «TaskName» |  |
| Additional Information: |  | «Comments» |  |  |  |  |
| TRANSFORMER DETAIL |  |  |  |  |  |  |
| Manufacturer |  |  | Type of Tank |  |  |  |
| Oil Drain Valve |  |  | Insulation Liquid Volume |  |  |  |
| Year of Manufacture |  |  | Total Mass |  |  |  |

| Item |  | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- | --- |
| ITR NOTES: This ITR is a CCMS place holder to trigger/capture Transformer oil samples (This ITR is not suitable for hermetically sealed transformers and no attempt should be made to access the dielectric fluid on a hermetically sealed transformer.) Minimum equipment discriptions to be included on the Sample bottle. Equipment ID - Sample Bottle ID - Oil Type – Compartment - Time: Date: |  |  |  |  |  |
|  | Perform check for any visible signs of leaks or weeps on the tank and fins. |  |  |  |  |
|  | Confirm oil levels in conservator tank. |  |  |  |  |
|  | Confirm silica gel breather crystals are blue and breather cup is filled with oil. |  |  |  |  |
|  | Take sample recording the necessary details and recording the relevant images |  |  |  |  |
|  | Confirm Sample Point Isolation Post Sample |  |  |  |  |

| DIGITAL PHOTOGRAPHS (SAMPLE POINT) |  |  |  |
| --- | --- | --- | --- |
| Photo ID |  | Description | Taken By |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Initial | N/A | Comments |  |  |
|  | Sample bottle clearly Identified with the minimum sample details |  |  |  |  |  |  |  |  |
|  | Sample Point location photos attached |  |  |  |  |  |  |  |  |
| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |  |  |  |  |
| COMPLETED |  |  |  |  |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  |  |  |  | EPCM ACCEPTED BY: |  |
| Signature: |  |  | Signature: |  |  |  |  | Signature: |  |
| Name: |  |  | Name: |  |  |  |  | Name: |  |
| Title: |  |  | Title: |  |  |  |  | Title: |  |
| Date: |  |  | Date: |  |  |  |  | Date: |  |