| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Drawing No. | «DocumentList» |  | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |  |
| GENERAL DATA |  |  |  |  |
| Trench Plan & Layout Drawing No: |  |  |  |  |
| RTIO Standard Specification |  | SS-101 - Electrical Wiring and Materials for Major Equipment Installation & SS-T010 – Installation of Long Haul External Optical Fibre Cable |  |  |
| Project Standard Drawing(s) |  | MA-0000-E-1117 & RVS-1871-SPE-H-001 & RVS-1871-LST-H-001 |  |  |
| Trench Type Description |  |  |  |  |
| Construction Trench Identifier (Location Chainage) |  |  |  |  |

| Item | Description |  |  |  |  |  | OK | N/A | Punch |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| TRENCHING AND BEDDING |  |  |  |  |  |  |  |  |  |
|  | Trench Width as per Drawings/ Spec: |  |  |  |  |  |  | mm |  |
|  | Trench Depth as per Drawings/Spec: |  |  |  |  |  |  | mm |  |
|  | Confirm Trench Benching, Stepping or Battering Required: |  |  |  |  |  |  |  |  |
|  | Confirm Trench Route & Conduit Bending Radius within Spec: |  |  |  |  |  |  |  |  |
|  | Confirm Trench Base suitability and free from foreign objects: |  |  |  |  |  |  |  |  |
|  | Confirm Trench Base Bedding Suitability: |  |  |  |  |  |  |  |  |
|  | Trench Base Bedding Depth: |  |  |  |  |  |  | mm |  |
|  | Confirm Horizontal Bore Section entry and exit points are as per design: |  |  |  |  |  |  |  |  |
|  | Confirm Horizontal Bore section sleeve selection are as per design: |  |  |  |  |  |  |  |  |
|  | Client Trench Acceptance | Sign: |  |  | Name: |  |  |  |  |
| INSTALLATION, BACKFILL AND REINSTATEMENT |  |  |  |  |  |  |  |  |  |
|  | Number of installed HV Services and depth: |  |  |  |  |  |  | mm |  |
|  | Number of installed LV Services and depth: |  |  |  |  |  |  | mm |  |
|  | Number of installed Comms Services and depth: |  |  |  |  |  |  | mm |  |
|  | Number of installed Mechanical Services and depth: |  |  |  |  |  |  | mm |  |
|  | Confirm Horizontal Service Separation Clearance Standards Achieved: |  |  |  |  |  |  |  |  |
|  | Confirm Vertical Service Separation Clearance Standards Achieved: |  |  |  |  |  |  |  |  |
|  | Total Conduit Bedding Depth: |  |  |  |  |  |  | mm |  |
|  | Confirm Backfill Suitability: |  |  |  |  |  |  |  |  |
|  | Buried Services Polymeric Marker Tape Type(s): |  |  |  |  |  |  | Type: |  |
|  | Buried Services Marker Tape Depth: |  |  |  |  |  |  | mm |  |
|  | Confirm if additional slab, Sleeve or mechanical protection is Installed: |  |  |  |  |  |  | Type: |  |
|  | Buried Services mechanical protection Depth: |  |  |  |  |  |  | mm |  |
|  | Backfill Cover Depth: |  |  |  |  |  |  | mm |  |
|  | Confirm compaction as per spec achieved: |  |  |  |  |  |  |  |  |
|  | Confirm finished surface reinstated if applicable: |  |  |  |  |  |  |  |  |
|  | Confirm survey of conduit route completed and data compiled for composite drawings update: |  |  |  |  |  |  |  |  |
|  | Confirm survey of horizontal bore completed (inclusive of route and depth) and data compiled for Composite drawings update: |  |  |  |  |  |  |  |  |
|  | Confirm cable Route & Direction Markers Installed along entire route: |  |  |  |  |  |  |  |  |
|  | Confirm Layout/Design Drawings As-Built: |  |  |  |  |  |  |  |  |
|  | Client Trench Backfill & Reinstatement inspection Acceptance: |  | Sign: |  | Name: |  |  |  |  |

| DIGITAL PHOTOGRAPHS |  |  |  |
| --- | --- | --- | --- |
| Photo ID |  | Description | Taken By |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | Initial | N/A | Comments |
|  | All site modifications correctly marked up on drawings and model as per project procedures. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |