| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. |  | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

| EQUIPMENT DETAIL |  |  |  |
| --- | --- | --- | --- |
| Manufacturer |  | LV Fuses/CB |  |
| Type |  | Under Voltage Relay Manufacturer |  |
| Serial No. |  | Under Voltage Relay Type |  |
| Class |  | Metering Manufacturer |  |
| Ratio |  | Type |  |
| VA Rating |  | Scale |  |
| HV Fuses |  | Metering Class |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
| TEST NOTES: |  |  |  |  |
| PRE-REQUISITE |  |  |  |  |
|  | Confirm availability of Voltage Transformer data sheet, single line, layout, general arrangement and schematic drawings are available. |  |  |  |
|  | Confirm Manufactures applicable Type and Routine Tests as per the data sheet and applicable standards have been completed and evidence provided. |  |  |  |
|  | Confirm equipment and circuit is safely isolated on primary and secondary sides. |  |  |  |
| PHYSICAL, INSTALLATION AND EQUIPMENT CHECKS |  |  |  |  |
|  | Confirm nameplate details are as per datasheet and equipment labelling is as per GA and schematic. |  |  |  |
|  | Confirm location is correct the Voltage Transformer is firmly mounted, physically aligned with adequate clearances as per design. |  |  |  |
|  | Confirm all equipment is free from mechanical damage. |  |  |  |
|  | Confirm Voltage Transformer Terminals and terminal blocks are correctly labelled and ferruled. |  |  |  |
|  | Confirm Voltage Transformer secondary connections are as per design. |  |  |  |
|  | Confirm that terminations are clean, tight and that all lugs/pins are crimped correctly and check that all nuts, washers and spring washes are in place. |  |  |  |
|  | Confirm that equipment earthing is correct and torqued to specification. |  |  |  |
|  | Confirm Main earth connected to Voltage Transformer frame. |  |  |  |
|  | Confirm Primary phase and neutral wires are correctly connected and neutral is earthed. |  |  |  |
|  | Confirm DLA measurement point earthed. |  |  |  |
|  | Confirm Secondary marshalling box wired correctly as per schematics. |  |  |  |
|  | Confirm Secondary fuses loaded and of correct rating. |  |  |  |
|  | Confirm single earth only on secondary star connection. |  |  |  |

| CONTINUITY, PHASING & EARTH |  |  |
| --- | --- | --- |
| Test Equipment: | Serial No.: | Calibration Date: |
| Test Points | Resistance | Remarks |
| R-W-B Phase Marking |  |  |
| TX Tank E - E Bar |  |  |
| TX Pri N – E |  |  |
| TX Sec N – E |  |  |
| Point to Point Confirmed Y N | Continuity OK Pass Fail | Phase marking Confirmed Y N |

| WINDING RESISTANCE TEST – (Only Required if Factory Test Results Not Available) N/A |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment: |  |  |  | Serial No.: |  |  |  | Calibration Date: |  |  |
| Phase | Primary Winding |  | Secondary Winding 1 |  |  | Secondary Winding 2 |  |  | Secondary Winding 3 |  |
|  | Test Points | Resistance | Test Points |  | Resistance | Test Points | Resistance |  | Test Points | Resistance |
| A |  | Ω |  |  | Ω |  | Ω |  |  | Ω |
| B |  | Ω |  |  | Ω |  | Ω |  |  | Ω |
| C |  | Ω |  |  | Ω |  | Ω |  |  | Ω |
| Refer to SS-E115 for Test Durations and Test Pass Fail Criteria - Pass Fail |  |  |  |  |  |  |  |  |  |  |

| WINDING RATIO TEST – (Only Required if Factory Test Results Not Available) N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment: |  |  |  | Serial No.: |  |  |  |  |  | Calibration Date: |  |  |  |  |
| Winding | Calc Ratio | A Phase |  |  |  | B Phase |  |  | C Phase |  |  |  |  |  |
|  |  | Ratio | I (mA) |  | Ph (deg) | Ratio | I (mA) | Ph (deg) | Ratio |  | I (mA) |  | Ph (deg) |  |
| P – sec 1 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| P – sec 2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| P – sec 3 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | A Phase Polarity |  |  |  | B Phase Polarity |  |  | C Phase Polarity |  |  |  |  |  |
| P – sec 1 |  | Pass |  |  |  | Pass |  |  | Pass |  |  |  |  |  |
| P – sec 2 |  | Pass |  |  |  | Pass |  |  | Pass |  |  |  |  |  |
| P – sec 3 |  | Pass |  |  |  | Pass |  |  | Pass |  |  |  |  |  |
| Winding Ratio & Polarity Test |  |  |  |  |  |  |  |  |  |  |  | Pass |  | Fail |

| INSULATION RESISTANCE TEST |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment |  | Serial No. |  |  | Calibration Due Date: |  |  |  |
|  | Primary Winding to Sec1+Sec2+Sec3+E |  | Secondary Winding 1 to Primary+Sec2+Sec3+E | Secondary Winding 2 to Primary+Sec1+Sec3+E |  | Secondary Winding 3 to Primary+Sec1+Sec2+E |  |  |  |
| Phase | Resistance |  | Resistance | Resistance |  | Resistance |  |  |  |
| A | Ω |  | Ω | Ω |  | Ω |  |  |  |
| B | Ω |  | Ω | Ω |  | Ω |  |  |  |
| C | Ω |  | Ω | Ω |  | Ω |  |  |  |
| Refer to SS-E115 for Test Durations and Test Pass Fail Criteria |  |  |  |  |  |  | Pass | Fail |

| HIGH VOLTAGE WITHSTAND LEAKAGE TEST – (Only Required if Factory Test Results Not Available) N/A |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test to be conducted @75% Routine (DC) Only if manufacturers Routine Test data is not available |  |  |  |  |  |  |  |  |
| Test Equipment: |  |  | Serial No. |  | Calibration Date |  |  |  |
| Duration: ____________ |  | Test Voltage/ Freq. | IR (MΩ) | @ 100% | @ 75% | @ 90% |  |  |
| Test Configuration |  |  |  | Leakage Current (mA) | Leakage Current (mA) | Leakage Current (mA) |  |  |
| Phase A | Primary to Secondaries shorted and Earthed | / |  |  |  |  |  |  |
| Phase B |  | / |  |  |  |  |  |  |
| Phase C |  | / |  |  |  |  |  |  |
| Refer to SS-E115 for Test Durations and Test Pass Fail Criteria |  |  |  |  |  |  | Pass | Fail |

| POST INSULATION RESISTANCE TEST – (Only Required if Factory Test Results Not Available) N/A |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment |  | Serial No. |  | Calibration Due Date: |  |  |  |
| Test Point | A Primary Winding to Sec1+Sec2+Sec3+E |  | B Primary Winding to Sec1+Sec2+Sec3+E |  | C Primary Winding to Sec1+Sec2+Sec3+E |  |  |
| Test Voltage |  |  |  |  |  |  |  |
| Test Duration |  |  |  |  |  |  |  |
| Result (MΩ) | Ω |  | Ω |  | Ω |  |  |
| Refer to SS-E115 for Test Durations and Test Pass Fail Criteria |  |  |  |  |  | Pass | Fail |

| COMPLETION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm VTs are discharged to Earth. |  |  |  |
|  | Confirm enclosure integrity and Bus, Cable, Cable Lug or Lug Bolt separation - Phase to Phase and Phase to Earth clearance distances have been unaltered and are maintained as per design. |  |  |  |
|  | Replace all covers and confirm the Voltage transformer is safe and ready for energisation. |  |  |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Item | Description |  |  |  | Initial | N/A | Comments |  |  |
|  | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |  |  |  |  |  |
|  | This form must be completed by an Authorised Electrical Worker. |  |  |  |  |  |  |  |  |
| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |  |  |  |  |
| COMPLETED |  |  |  |  |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  |  |  |  | EPCM ACCEPTED BY: |  |
| Signature: |  |  | Signature: |  |  |  |  | Signature: |  |
| Name: |  |  | Name: |  |  |  |  | Name: |  |
| EW Licence No.: |  |  | Title: |  |  |  |  | Title: |  |
| Date: |  |  | Date: |  |  |  |  | Date: |  |