| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. | «OEMPartNumber» |  |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. |  | «TaskName» |
| Additional Information: | «Comments» |  |  |  |

| GENERAL DATA |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Schematic Diagram: |  |  | Termination: |  |  |  |  |  |  | Layout Drawing: |  |  |  |
| Type: | Flow | Temperature |  | Level |  |  | Pressure | Density |  |  |  | Valve/Actuator/Other |  |
| Sensor Type | Orifice | Diaphragm |  | Thermocouple Type _____ |  |  |  |  | RTD Type ______ |  |  |  | Other |
| Output: | Milliamp | Pneumatic |  |  |  | Motorised Valve / Actuator / Positioner |  |  |  |  |  |  |  |
| Power Supply Voltage |  | Process Variable Range |  |  | Eng. Units _______ = 0% |  |  |  |  |  | Eng. Units _______ = 100% |  |  |
| Instrument Supply Voltage |  |  |  |  | Air Supply Regulator Set At |  |  |  |  |  | kPa |  |  |

| This section shall be completed for all types of instruments |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm Instrument datasheet is available and process ranges and set points are confirmed. |  |  |  |
|  | Confirm IP rating is correct. |  |  |  |
|  | Confirm Instrument Tag Labelling is correct and attached. |  |  |  |
|  | Confirm instrument process tapings are correct for proposed installation type. |  |  |  |
|  | Remove and retain protective covers. |  |  |  |
|  | Connect calibration process variable as required, and instrument calibration test voltages as per termination or loop diagram. |  |  |  |
|  | Record Instrument General and Calibration data below. |  |  |  |

| Test Equipment Used |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Make | Model | Serial No. | Calibration No. | Calibration Expiry Date | Calibration Range |  |

| TRANSMITTER RESPONSE |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| SPAN % | Applied Input – eng. units | Desired Output |  | Actual Rise | Actual Fall | Status/ Alarms/ Trip |
| 0 |  | 4.00 | mA |  |  |  |
| 25 |  | 8.00 | mA |  |  |  |
| 50 |  | 12.00 | mA |  |  |  |
| 75 |  | 16.00 | mA |  |  |  |
| 100 |  | 20.00 | mA |  |  |  |
| Transmitter Output Verified |  |  |  |  |  |  |

| Motorised Valve/ Actuator/ Positioner RESPONSE |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Signal mA | Signal Applied Input – eng. Units (If not mA) | Desired Output |  | Actual Position OPEN / CLOSE |  |  |  |
|  |  | Signal to OPEN |  |  |  |  |  |
| 4.00 mA |  | 0 | % |  |  | Full Travel Time | ______ sec OPEN |
| 8.00 mA |  | 25 | % |  |  |  | ______ sec CLOSE |
| 12.00 mA |  | 50 | % |  |  |  |  |
| 16.00 mA |  | 75 | % |  |  |  |  |
| 20.00 mA |  | 100 | % |  |  |  |  |
|  |  | Signal to CLOSE |  |  |  |  |  |
| 4.00 mA |  | 100 | % |  |  | Full Travel Time | ______ sec CLOSE |
| 8.00 mA |  | 75 | % |  |  |  | ______ sec OPEN |
| 12.00 mA |  | 50 | % |  |  |  |  |
| 16.00 mA |  | 25 | % |  |  |  |  |
| 20.00 mA |  | 0 | % |  |  |  |  |
| Aux Position Switches Correct |  |  |  |  |  | Power Fail Position | Open |
| Travel Torque Limit correctly adjusted |  |  |  |  |  |  | Close |
| Positioner Action Proved |  |  |  |  |  |  | Last Position |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm equipment clean and free from debris internally and externally. |  |  |  |
|  | Confirm Instrument Calibration is complete, results are within Acceptable % error and has passed calibration. |  |  |  |
|  | Confirm Calibration sticker has been applied to the instrument in a visible position. |  |  |  |
|  | Confirm reinstatement of protective covers. |  |  |  |
|  | Confirm Instrument is packaged ready for site installation. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| EW Licence No.: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |