| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Cable Type: | «CableType» | No of Conductors: | «CableNumConductors» |
| Voltage: | «CableVoltage» | Cable Size: | «CableSize» |
| From: | «CableFrom» | To: | «CableTo» |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm tag nameplate (or stamping) is clear, legible and securely fitted to the equipment. |  |  |  |
|  | Confirm all components are free from damage, contamination or corrosion. |  |  |  |
|  | Check RTD cable FROM and TO locations are correct as per cable schedule. |  |  |  |
|  | Confirm cable size and type is correct as per cable schedule. |  |  |  |
|  | Ensure cable bending radius has not been exceeded |  |  |  |
|  | Confirm device/ sensor positioning, alignment and orientation is correct with regards to the process that will be measured/ monitored. |  |  |  |
|  | Confirm device/sensor mounting allows suitable mechanical adjustment for alignment and orientation with regards to its process interface. |  |  |  |
|  | Confirm cable service loop is sufficient for range of adjustment. |  |  |  |
|  | Confirm cable glands are correct and tensioned. |  |  |  |
|  | Confirm all unused cable entries and process tappings are plugged with suitable blanks. |  |  |  |
|  | Confirm bootlace pins or approved lugs are used on all wires and are firmly crimped. |  |  |  |
|  | Confirm wiring looms are neat. |  |  |  |
|  | Confirm terminals are numbered, firmly tightened with one wire per terminal. |  |  |  |
|  | Confirm all wires are ferruled and ferrules are correct. |  |  |  |
|  | Confirm all spare cores are terminated and ferruled as spare. |  |  |  |
|  | Complete Continuity & Resistance checks and if applicable RTD Cable Joint and Thermowell table requirements |  |  |  |
|  | Confirm equipment earth bonding is connected as per applicable drawings. |  |  |  |
|  | Confirm equipment clean and free from debris internally and externally. |  |  |  |
|  | Confirm all gaskets and seals are intact. |  |  |  |
|  | Confirm device is left safe and ready for energisation. |  |  |  |

| POINT TO POINT CONTINUITY & RESISTANCE TESTS |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Test Equipment: |  |  |  | Serial No.: |  |  |  |  |  | Calibration Date: |  |  |  |
| RTD Type |  |  | PT100 Other _________ |  |  |  |  |  |  |  |  |  |  |
| RTD Details |  |  | 2-Wire 3-Wire 4-Wire |  |  |  |  |  |  |  |  |  |  |
| RTD Core Colour |  |  | Resistance |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  | Ω |  |  |  | Ω |  |  |  |  |  |  |
| 2 |  |  | Ω |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  | Ω |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  | Ω |  |  |  |  |  |  |  |  |  |  |
| Screen |  |  | Ω |  |  |  |  |  |  |  |  |  |  |
| Ambient Temp (C0) |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Point to Point Confirmed Y N |  |  |  |  |  | Resistance Compliance Pass Fail |  |  |  |  |  |  |  |
| RTD Cable Joint - Post Joint RTD Core Colour & Resistance N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RTD Splice complete |  |  |  |  | Yes No |  |  |  |  |  |  |  |  |
| Joint Shrink Sleeve Type |  |  |  |  |  |  |  |  |  |  |  |  |  |
| RTD Core Colour |  |  | RTD Extension Core Colour/Number |  |  |  | Resistance |  |  |  |  |  |  |
| 1 |  |  | 1 |  |  |  | Ω |  | Ω |  |  |  |  |
| 2 |  |  | 2 |  |  |  | Ω |  |  |  |  |  |  |
| 3 |  |  | 3 |  |  |  | Ω |  |  |  |  |  |  |
| 4 |  |  | 4 |  |  |  | Ω |  |  |  |  |  |  |
| Ambient Temp (0C) |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  | Point to Point Confirmed Y N |  |  | Resistance Confirmed Pass Fail |  |  |  |  |  |
| THERMOWELL N/A |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Item | Description |  |  |  |  |  |  |  |  |  | OK | N/A | Punch |
|  |  | Confirm Thermowell edge marked as per typical installation drawing. |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Confirm correct mechanical dimensions for Thermowell: Length ____________ Bore Diameter ____________ Material Grade ____________ |  |  |  |  |  |  |  |  |  |  |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Item |  |  |  | Initial | N/A | Comments |  |  |
| 1 | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |  |  |  |  |  |
| 2 | All Punchlist items noted on a separate Punchlist form and submitted for. |  |  |  |  |  |  |  |  |
| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punch List Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |  |  |  |  |
| COMPLETED |  |  |  |  |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  |  |  |  | EPCM ACCEPTED BY: |  |
| Signature: |  |  | Signature: |  |  |  |  | Signature: |  |
| Name: |  |  | Name: |  |  |  |  | Name: |  |
| Licence No: |  |  | Title: |  |  |  |  | Title: |  |
| Date: |  |  | Date: |  |  |  |  | Date: |  |