| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. |  | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

| Bore Number : |  |
| --- | --- |
| Equipment Number : |  |
| Easting : |  |
| Northing : |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm all components have been installed as per P&ID, standard drawings, design drawings, scope of work, specifications and Bore Schedule. (MA-1512-P-01011) (MA-0000-M-1137) (MJ-1821-P-50001) |  |  |  |
|  | Confirm the bore headworks have been manufactured, constructed and installed as per the following standards and specifications. SS-M197, SS-M198, SS-M120, RVS-0000-SPE-P-002, RVS-0000-SPE-P-003 |  |  |  |
|  | Confirm all components have been inspected and are free from damage. |  |  |  |
|  | Confirm the bore head, flange and fixtures are galvanised steel items and have been manufactured and installed as per MA-0000-P-1033 and comply with SS-P118 and AS 4680 for surface treatment. |  |  |  |
|  | Confirm all welding complies to AS4041 Class 3. |  |  |  |
|  | Confirm the bore head lifting lug has been installed, stamped and inspected and complies with MA-0000-M-1124 and MA-0000-P-1033. |  |  |  |
|  | Confirm the headworks pad has been constructed to comply with MA-0000-Y-01006 and all associated design drawings. |  |  |  |
|  | Confirm Water Level Measurement and Submergence Probe conduits have been installed as per MA-0000-P-1033. |  |  |  |
|  | Confirm hydrostatic test has been completed, witnessed and results have been approved. (complete P1.004) |  |  |  |
|  | Confirm all identification and signage is installed as per design drawings and project specifications and the area has been left in a safe state. |  |  |  |
|  | Marked up Redline P&ID completed and attached. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |