| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. |  | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

| Bore Number : |  |
| --- | --- |
| Easting : |  |
| Northing : |  |
| Design Bore Depth : |  |
| Installed Bore Depth : |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm all components have been installed as per design drawings, scope of work, specifications and Bore Schedule. (MA-1512-P-01011) |  |  |  |
|  | Confirm all components have been inspected and are free from damage. |  |  |  |
|  | Confirm the bore case, flange and fixtures are galvanised steel items. |  |  |  |
|  | Confirm bore end cap, bore casings and screens have been installed to suit details of the bore schedule. (MA-1512-P-01011) |  |  |  |
|  | Confirm all grouting is complete. |  |  |  |
|  | Confirm the bore casing has been installed as per SS-M201, within 1 degree of vertical misalignment and a gyroscopic survey has been completed and attached. |  |  |  |
|  | Confirm no ridges or hooks within the bore casing that may damage downhole equipment. |  |  |  |
|  | Confirm bore casing is circular with no distortion of the diameter. |  |  |  |
|  | Confirm bore casing complies with AS1396 and/or ASME B36.1. |  |  |  |
|  | Confirm the bore has been installed in accordance with the manufacturer’s installation instructions. |  |  |  |
|  | Confirm the bore casing has been terminated above ground with a lockable lid. |  |  |  |
|  | Confirm a precast concrete plinth has been provided. |  |  |  |
|  | Confirm all relevant safety signage is in place and the area has been left in a safe state. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |