| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. | «OEMPartNumber» |  |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. |  | «TaskName» |
| Additional Information: | «Comments» |  |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm installation is as per P&ID, design drawings and SS-M198. Drawing No (s): _______________________________________ |  |  |  |
|  | - Inspect all components and confirm they are free from damage. |  |  |  |
|  | - Strainers, with correct filter rating, installed as per P&ID. |  |  |  |
|  | - Confirm all instruments are installed as per P&ID. |  |  |  |
|  | - Confirm all valves are installed as per P&ID. |  |  |  |
|  | - Confirm all valves are of the correct type & pressure rating as per the line class & specifications. |  |  |  |
|  | - Confirm all hoses, camlocks, minsup fittings and clips are installed correctly. |  |  |  |
|  | - Confirm all valve orientations have been checked. |  |  |  |
|  | - Confirm all valves are installed in accordance with AS-0000-P-00111. |  |  |  |
|  | - Confirm all isolation valves are capable of being locked. |  |  |  |
|  | Confirm that the solenoid valves are “Fail Closed” type (loss of power valve closes). |  |  |  |
|  | Confirm correct nozzle type installed and orientation is as per drawings. |  |  |  |
|  | In accordance with AS 1345 confirm all pipes are banded and fitted with identification markings adjacent to isolation valves and all branch lines. Markings shall include: - Direction of flow - Contents - Pipe identification number |  |  |  |
|  | Confirm all valves correctly labelled using stainless steel tags in accordance with drawings and specifications. |  |  |  |
|  | Confirm piping installed with sufficient unions, flanges and spools to enable removal of piping, valves &/or equipment. |  |  |  |
|  | Marked-up P&ID drawing (s) attached. |  |  |  |
|  | Confirm all surface treatments are in accordance with SS-P118, design drawings and specifications. |  |  |  |
|  | Confirm all identification and signage is installed as per design drawings and project specifications. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |