| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Site excavation permit completed and approved (drawings/sketches attached) | ☐ | ☐ | ☐ | Dig Permit No: Site Backfill Permit No: |  |  |
| 2 | Traffic Management Plan (TMP) in place | ☐ | ☐ | ☐ |  |  |  |
| 3 | Underlying works on ground completed and conformed | ☐ | ☐ | ☐ |  |  |  |
| 4 | Any existing underground services checked and identified by pot holing | ☐ | ☐ | ☐ |  |  |  |
| 5 | Survey set-out to correct locations and levels as per approved drawings | ☐ | ☐ | ☐ |  |  |  |
| 6 | Barricading & signage in place | ☐ | ☐ | ☐ |  |  |  |
| 7 | Excavation area and depth correct and dispose surplus material to designate location | ☐ | ☐ | ☐ |  |  |  |
| 8 | Suitable benching and battering / slope protection in place (if required) | ☐ | ☐ | ☐ |  |  |  |
| 9 | Material complies to specification 25977-000- 3PS-CE00-00004 | ☐ | ☐ | ☐ |  |  |  |
| 10 | General fill layer installed and compacted to specification | ☐ | ☐ | ☐ |  |  |  |
| 11 | Subgrade proof rolled to identify any soft spots / Bearing Capacity Verification | ☐ | ☐ | ☐ |  |  |  |
| 12 | Testing completed as per specification(Attached) | ☐ | ☐ | ☐ |  |  |  |
| 13 | Fill batters shall be formed to shapes and slopes on the drawings | ☐ | ☐ | ☐ |  |  |  |
| 14 | Finished earthworks surface is free draining and anti-ponding | ☐ | ☐ | ☐ |  |  |  |
| 15 | Vertical & horizontal tolerance met as per specification | ☐ | ☐ | ☐ |  |  |  |
| 16 | As built survey and records completed | ☐ | ☐ | ☐ |  |  |  |
| 17 | Final check of documentation | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |