| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. |  | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

| - PUMP DATA |  | - RISING MAIN |  |
| --- | --- | --- | --- |
| - Motor Serial No. |  | - Make |  |
| - Pump Make |  | - Model |  |
| - Pump Model |  | - Torque |  |
| - Pump Serial No. |  |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm all components have been installed as per P&ID, design drawings, scope of work and specifications. |  |  |  |
|  | Confirm all components have been inspected and are free from damage. |  |  |  |
|  | All transport packaging and anti-rotation devices have been removed from the pump. |  |  |  |
|  | Confirm impeller shaft and motor are free to rotate and have been rotated by hand. |  |  |  |
|  | Prior to installing the pump, confirm the visible bore casing and flange plates are free from damage. |  |  |  |
|  | Confirm the bore case, flange and fixtures are galvanised steel items. |  |  |  |
|  | Confirm base/sub frame grouting complete. |  |  |  |
|  | Confirm Wellmaster rising main has been installed to manufacturer’s specification and installation check sheet has been completed, approved and attached to M1.099. (Vendor ITR Placeholder) |  |  |  |
|  | Confirm all suction and discharge piping, valves, gauges and fittings have been installed in accordance with the drawings. |  |  |  |
|  | Confirm all flange bolting checked for correct tension. (includes Wellmaster connections) |  |  |  |
|  | Confirm the pump is installed in accordance with the manufacturer’s installation instructions. |  |  |  |
|  | Record Installed Pump Depth : ________________________mtrs Record Design Pump Depth : _________________________mtrs |  |  |  |
|  | Labelling is attached to the pump as per SS-M187 section 15.3. |  |  |  |
|  | Confirm all identification and signage is installed as per design drawings and project specifications. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |