| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

- CANTILEVER / SLIDING SECURITY GATE

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm gate is installed as per design drawings/models. |  |  |  |
|  | Confirm drive motor is installed as per manufacturer’s specification. |  |  |  |
|  | Confirm gate, slide rails, guide posts are level and installed as per design location (attach survey report). |  |  |  |
|  | Confirm all rubber rail sweepers are installed correctly. |  |  |  |
|  | Confirm grease points accessible outside of guarding. |  |  |  |
|  | Confirm grease pigged/flushed and all lines are purged. |  |  |  |
|  | Confirm all bearings/ bushes/ rollers are manufactured from the correct material. ie steel, polyurethane etc… |  |  |  |
|  | Confirm bearings/ bushes/ rollers installed correctly and rotate freely by hand without undue stress. |  |  |  |
|  | Confirm bearings/ bushes/ rollers greased. |  |  |  |
|  | Confirm grease type: |  |  |  |
|  | Confirm all bolted connections are Denso taped. |  |  |  |
|  | Confirm all bolted connections are of the correct length, grade and tensioned correctly. |  |  |  |
|  | Confirm surface protection has been applied as per SS-P118 and all touch up paint has been completed. |  |  |  |
|  | Confirm all guarding installed & is clear of any moving parts. |  |  |  |
|  | Confirm all identification and signage is installed as per design drawings and project specifications. |  |  |  |

- BOOM GATE

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm gate is installed as per design drawings/models. |  |  |  |
|  | Confirm drive is installed as per manufacturer’s specification. |  |  |  |
|  | Confirm gate, guide posts, mechanisms are level and installed as per design location (attach survey report). |  |  |  |
|  | Confirm boom arm installed as per manufacturer’s specification. |  |  |  |
|  | Confirm grease points accessible outside of guarding. |  |  |  |
|  | Confirm grease pigged/flushed and all lines are purged. |  |  |  |
|  | Confirm bearings/ bushes/ rollers greased as per manufacturer’s specification. |  |  |  |
|  | Confirm grease type: |  |  |  |
|  | Confirm all bolted connections Denso taped. |  |  |  |
|  | Confirm all bolted connections are of the correct length, grade and tensioned correctly. |  |  |  |
|  | Confirm surface protection has been applied as per SS-P118 and all touch up paint has been completed. |  |  |  |
|  | Confirm all guarding installed & is clear of any moving parts. |  |  |  |
|  | Confirm all identification and signage is installed as per design drawings and project specifications. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (NO PUNCHLIST ITEMS TO BE INCLUDED HERE) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |