| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. |  | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

This section is to be used as a record sheet for documentation related to the Vendor Supplied Equipment Tag No.

| Supply Contractor/ Free Issued by: |  |
| --- | --- |
| Construction Contractor/ Installation by: |  |
| Manufacturer: |  |
| Model: |  |
| Serial Number: |  |
| Skid/ Package Number/ Description: |  |

Enter the details for all relevant documentation in the table below and tick the boxes to confirm documents are appended behind this coversheet.

| Item | Document Name/ Type/ Transmittal No. | Appended (Tick Box) |
| --- | --- | --- |

| GENERAL TANK CONSTRUCTION VERIFICATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm foundations & anchor bolts surveyed & deemed correct. |  |  |  |
|  | Confirm fabricated steel tanks built in compliance with approved standard and design specs. |  |  |  |
|  | Confirm all materials are as per project specifications & design drawings. |  |  |  |
|  | Confirm all dimensions checked & comply with tolerances on drawings & specifications. |  |  |  |
|  | Confirm tanks surveyed for correct verticality & roundness and survey attached. |  |  |  |
|  | Confirm nozzles / penetrations surveyed for correct level & orientation. |  |  |  |
|  | Confirm material traceability reports have been viewed and deemed acceptable. |  |  |  |
|  | Confirm weld traceability reports have been supplied for every weld as per RVS-0000-SPE-S-003. |  |  |  |
|  | Confirm NDT requirements have been undertaken as per the line specification, RVS-0000-SPE-S-003 and results have been reviewed & approved. |  |  |  |
|  | - Confirm baffles & internal trims installed as per drawings. |  |  |  |
|  | Confirm overfill pipes & drains installed as per drawings. |  |  |  |
|  | Confirm all man holes & vents installed as per drawings. |  |  |  |
|  | Confirm all tie-in piping flanges connected & correct grade gaskets installed. |  |  |  |
|  | - Confirm launders installed & sealed as per drawings & specifications. |  |  |  |
|  | Confirm correct bolt up of inspection doors & man holes- including gasket type. |  |  |  |
|  | - Confirm access ladders, platforms & stairways installed as per drawings & specification. |  |  |  |
|  | - Confirm internal coatings/ linings installed as per design specification. |  |  |  |
|  | - Confirm internal cleaning completed. |  |  |  |
|  | - Confirm external coatings applied as per specification. |  |  |  |
|  | - Confirm insulation installed as per specification. |  |  |  |
|  | - Confirm fire protection completed as per specification. |  |  |  |
|  | - Confirm all guarding installed. |  |  |  |
|  | - Confirm nameplate installed correctly. |  |  |  |
|  | - Confirm all identification and signage is installed as per design drawings and project specifications. |  |  |  |
|  | - Confirm completion of surface treatment requirements or damage touch-up (if applicable). |  |  |  |

| PAINT – SURFACE TREATMENT CONSTRUCTION VERIFICATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm final coat thickness. Tolerance of -0 to + 20% of minimum DFT unless a specific DFT range is specified. |  |  |  |
|  | Confirm paint surface free from runs, sagging, blisters, craters, pin holes & all other defects. |  |  |  |
|  | Confirm any steelwork deemed hazardous to be painted yellow with diagonal black stripes as per AS1318. |  |  |  |
|  | Confirm all machined surfaces free from paint. |  |  |  |
|  | Confirm paint colours correspond as per SS-P118, scope of work or any site specific document. |  |  |  |
|  | Confirm all repair work has been undertaken as per SS-P118. |  |  |  |
|  | Confirm protective coating report reviewed for conformity SS-P118 and is attached to this document. |  |  |  |

| GALVANISING – SURFACE TREATMENT CONSTRUCTION VERIFICATION |  |  |  |  |
| --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Punch |
|  | Confirm coating is adherent, smooth & evenly distributed. |  |  |  |
|  | Confirm galvanised thickness checks undertaken by vendor & factory test sheets witnessed for conformity to AS4680. |  |  |  |
|  | Confirm all faying surfaces mechanically treated. |  |  |  |
|  | Confirm holes are free from excess build up. |  |  |  |
|  | Confirm coating free from pin holes, acid spots, cracks & laminations. |  |  |  |
|  | Confirm all repair work has been undertaken as per client specification. |  |  |  |

| SURFACE PREPARATION- AS 1627 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Chamber |  | Covered |  |  |  |  |  |  | Open |  |  |  |  | Internal |  |
| ABRASIVE TYPE |  |  |  |  |  |  |  |  | GRADE |  |  |  |  |  |  |
| GRADE OF SURFACE RUST | A |  | B | C |  | D | SURFACE PROFILE/ ANCHOR PATTERN |  |  |  |  |  | µm |  |  |
| BLAST PROFILE | Sa1 Light |  |  |  |  |  |  |  |  | Sa 2.5 Near White (95% clean) |  |  |  |  |  |
|  | Sa 2 Commercial (68% clean) |  |  |  |  |  |  |  |  | Sa 3 White Metal (100% clean) |  |  |  |  |  |
| Free of dust & spent abrasive |  |  |  |  | Free of weld slag |  |  |  |  |  |  | Free of sharp edges |  |  |  |
| Free of oil & contaminants |  |  |  |  | Free of weld porosity |  |  |  |  |  |  | Free of laminations |  |  |  |
| Free of flash rusting |  |  |  |  | Free of weld spatter |  |  |  |  |  |  | Free of burrs |  |  |  |

| WEATHER – SURFACE TREATMENT (record at start time & every 3 hrs thereafter until completion) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Time | Clear/ sunny | Overcast |  | Fog | Dew |  | Rain |  |  |  |  |  | Wind |  |  |  |
|  |  |  |  |  |  |  | Light | Mod |  | Heavy | Intermittent Showers |  | Light |  | Mod | Strong |
| AMBIENT SURFACE CONDITIONS (record at start time & every 3hrs thereafter until completion) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Time | Air/ Dry Bulb |  | Wet Bulb |  |  | Relative Humidity |  |  | Substrate Temp. |  | Dew Point | Substrate Temp. Minus Dew Point |  | Ok to Paint |  |  |
|  | °C |  | °C |  |  | % |  |  | °C |  | °C | °C |  | Yes / No |  |  |
|  | °C |  | °C |  |  | % |  |  | °C |  | °C | °C |  | Yes / No |  |  |
|  | °C |  | °C |  |  | % |  |  | °C |  | °C | °C |  | Yes / No |  |  |

| PAINT SPECIFICATION |  |  |
| --- | --- | --- |
| COATING ID | 1st COAT | 2nd COAT |
| Generic Type |  |  |
| Brand Name |  |  |
| Resin Batch No |  |  |
| Hardener Batch No |  |  |
| Colour |  |  |
| Thinner Type |  |  |
| % Thinner Used |  |  |
| Date/ Time Applied |  |  |

| APPLICATION & TESTING |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | COATING ID |  |  | 1st COAT |  | 2nd COAT |  |
| APPLICATION | Brush |  |  |  |  |  |  |
|  | Roller |  |  |  |  |  |  |
|  | Spray- Conventional |  |  |  |  |  |  |
|  | Spray- Airless |  |  |  |  |  |  |
|  | Spray- Plural Comp. |  |  |  |  |  |  |
| COATING THICKNESS | Wet Film |  |  | µm |  | µm |  |
|  | Dry Film |  |  | µm |  | µm |  |
|  | Specification |  |  | µm |  | µm |  |
|  | Maximum |  |  | µm |  | µm |  |
|  | Minimum |  |  | µm |  | µm |  |
|  | Average |  |  | µm |  | µm |  |
|  | No of Readings Taken |  |  | µm |  | µm |  |
| TESTING | ADHESION |  |  |  |  |  |  |
|  | Test Method Used |  |  |  |  |  |  |
|  | HARDNESS |  |  |  |  |  |  |
|  | Test Method Used |  |  |  |  |  |  |
| CONTINUITY TEST |  |  |  |  | DEGREE OFCURE TEST (as per AS 3894.4) |  |  |
| Voltage: |  | Pass | Fail |  | Pass |  | Fail |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Description | OK | N/A | Comment | Confirmed by (Initials) |
|  | All relevant drawings attached and highlighted to identify battery limit of particular equipment being constructed. |  |  |  |  |
|  | Contractor verified and approved as-built ‘Red Line’ drawings attached or sited by client and approved for official transmittal. |  |  |  |  |
|  | All outstanding items have been listed with photo evidence, punchlist number assigned and recorded below. |  |  |  |  |

| OUTSTANDING ITEMS |  |  |  |
| --- | --- | --- | --- |
| Item | Description | Photo Attached Y/N | PL No. |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |