| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
|  | PREPARATION |  |  |  |  |  |  |
| 1 | Approved and current drawings and documentation available for excavation including applicable permits | ☐ | ☐ | ☐ |  |  |  |
| 2 | Survey has verified position of excavation and applied offset markers? | ☐ | ☐ | ☐ |  |  |  |
| 3 | Buried services identified and marked (if applicable)? | ☐ | ☐ | ☐ |  |  |  |
| 4 | Trench alignment acceptable Excavation / Service elevations verified | ☐ | ☐ | ☐ |  |  |  |
| 5 | Backfill material acceptable and available | ☐ | ☐ | ☐ |  |  |  |
|  | EXCAVATION |  |  |  |  |  |  |
| 1 | Trench excavation correctly sized (Width/Depth/Alignment) | ☐ | ☐ | ☐ |  |  |  |
| 2 | Suitably benched / battered (if applicable) | ☐ | ☐ | ☐ |  |  |  |
| 3 | Trench base inspected prior to bedding installation | ☐ | ☐ | ☐ |  |  |  |
| 4 | Applicable Service FIC(s) completed e.g. Piping / E&I | ☐ | ☐ | ☐ |  |  |  |
| 5 | Access / Egress points provided. Maximum spacing 30m | ☐ | ☐ | ☐ |  |  |  |
| 6 | Trench inspection daily conducted for stability, water ingress, fauna, collapse. | ☐ | ☐ | ☐ |  |  |  |
|  | BACKFILL |  |  |  |  |  |  |
| 1 | Service position recorded by survey | ☐ | ☐ | ☐ |  |  |  |
| 2 | Trench inspected and acceptable prior to backfill | ☐ | ☐ | ☐ |  |  |  |
| 3 | Material surrounding service compacted by hand or lightweight compaction plant to prevent damage to service. | ☐ | ☐ | ☐ |  |  |  |
| 4 | Cover of 300mm minimum reached prior to machine compaction | ☐ | ☐ | ☐ |  |  |  |
| 5 | Backfill placed in uniform horizontal layers as per specification (see note 2) | ☐ | ☐ | ☐ |  |  |  |
| 6 | Buried service warning tape installed (where applicable) | ☐ | ☐ | ☐ |  |  |  |
| 7 | Compaction of backfill applicable % of maximum dry density (see note 2) | ☐ | ☐ | ☐ |  |  |  |
| 8 | Inspection Test Plan Completed and Signed | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |