| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | The pump is installed in accordance with the manufacturers installation instructions | ☐ | ☐ | ☐ |  |  |  |
| 2 | All hold down bolts are correctly tensioned. QU-FIC-0075 attached | ☐ | ☐ | ☐ |  |  |  |
| 3 | Base/ sub frame grouting complete | ☐ | ☐ | ☐ |  |  |  |
| 4 | All suction and discharge piping, valves, gauges and fittings have been installed in accordance with the drawings | ☐ | ☐ | ☐ |  |  |  |
| 5 | All flange bolting checked for correct tension | ☐ | ☐ | ☐ |  |  |  |
| 6 | Pipe flange connection stresses checked & removed | ☐ | ☐ | ☐ |  |  |  |
| 7 | Impeller shaft and motor are free to rotate and have been rotated by hand | ☐ | ☐ | ☐ |  |  |  |
| 8 | Pump direction of rotation clearly marked | ☐ | ☐ | ☐ |  |  |  |
| 9 | Pump bearings have been greased | ☐ | ☐ | ☐ | Grease Type: ___________ |  |  |
| 10 | Labyrinth Seals purged | ☐ | ☐ | ☐ | Grease Type: ___________ |  |  |
| 11 | Grease cup installed | ☐ | ☐ | ☐ | Grease Qty: ___________ |  |  |
| 12 | Seal / gland water plumbed in | ☐ | ☐ | ☐ |  |  |  |
| 13 | Oil cavity / reservoir filled & level checked | ☐ | ☐ | ☐ | Oil Type: ___________ |  |  |
| 14 | Pump is uncoupled from motor (for motor direction check) & Flexible Coupling checksheet FIC-0056 attached | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |