| SPECIFICATIONS |  |  |  |
| --- | --- | --- | --- |
| COMPRESSOR |  | AIR RECEIVER |  |
| Manufacturer |  | Manufacturer |  |
| Model |  | Model |  |
| Serial Number |  | Tank |  |

| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Mechanical equipment checked for any transport damage & loose fittings/ bolts | ☐ | ☐ | ☐ |  |  |  |
| 2 | Installation is in accordance with the manufacturers instructions | ☐ | ☐ | ☐ |  |  |  |
| 3 | Complete circuit has been checked against the schematic drawing & is correct | ☐ | ☐ | ☐ |  |  |  |
| 4 | Air receiver & compressor hold down bolts tensioned correctly. QU-FIC-0075 Attached | ☐ | ☐ | ☐ |  |  |  |
| 5 | Undertake all pre- start checks on compressor as per IOM. Attach copy of pre-start sheet. | ☐ | ☐ | ☐ |  |  |  |
| 6 | All site installed pipe work has been pre flushed before final installation. Flushing report attached | ☐ | ☐ | ☐ |  |  |  |
| 7 | All fittings & joints checked & tightened | ☐ | ☐ | ☐ |  |  |  |
| 8 | All flexible pneumatic hoses not stressed or twisted during installation & have unrestricted movement | ☐ | ☐ | ☐ |  |  |  |
| 9 | All hard piping is adequately supported |  |  |  |  |  |  |
| 10 | Full system flush conducted, results attached & looped lines re- connected. Flushing / drying report attached | ☐ | ☐ | ☐ |  |  |  |
| 11 | Check all in line filters for correct installation & condition | ☐ | ☐ | ☐ |  |  |  |
| 12 | All valves/ instruments installed facing the correct direction | ☐ | ☐ | ☐ |  |  |  |
| 13 | Air dryer installed as per manufacturers specifications | ☐ | ☐ | ☐ |  |  |  |
| 14 | Oil mist lubricators installed & filled as per manufacturers instruction | ☐ | ☐ | ☐ |  |  |  |
| 15 | All regulators are correctly pre- set | ☐ | ☐ | ☐ | Pressure: _____________ kPa |  |  |
| 16 | Accumulators installed correctly & have correct pre- charge | ☐ | ☐ | ☐ | Pressure: _____________ kPa |  |  |
| 17 | Pressure relief valves pre- set | ☐ | ☐ | ☐ | Pressure: _____________ kPa |  |  |
| 18 | Hydrostatic test completed & check sheet QU-FIC-0058 attached if applicable. | ☐ | ☐ | ☐ |  |  |  |
| 19 | Correct piping check sheet completed & attached | ☐ | ☐ | ☐ |  |  |  |
| 20 | All colour coding & labels installed as per AS 1345 | ☐ | ☐ | ☐ |  |  |  |
| 21 | All guarding installed | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |