| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
|  | PRE-POUR CHECKS |  |  |  |  |  |  |
| 1 | Compaction testing completed, TR No: | ☐ | ☐ | ☐ |  |  |  |
| 2 | Buried conduit with riser in place | ☐ | ☐ | ☐ |  |  |  |
| 3 | Blinding placed (Min 50mm) | ☐ | ☐ | ☐ |  |  |  |
| 4 | All conduits Securely fixed and supported | ☐ | ☐ | ☐ |  |  |  |
| 5 | "Line and Level check (visual inspect for any damage)" | ☐ | ☐ | ☐ |  |  |  |
| 6 | Dimensional Check | ☐ | ☐ | ☐ |  |  |  |
| 7 | "Formwork installed correctly, clean, oiled and sealed" | ☐ | ☐ | ☐ |  |  |  |
| 8 | Chamfer installed | ☐ | ☐ | ☐ |  |  |  |
| 9 | "Survey to check all compliance with IFC drawing" | ☐ | ☐ | ☐ |  |  |  |
| 10 | Reinforcement bar size, spacing and number is correct | ☐ | ☐ | ☐ |  |  |  |
| 11 | Bars bent to correct shape and size | ☐ | ☐ | ☐ |  |  |  |
| 12 | Bar/Mesh minimum splice/lap length correct | ☐ | ☐ | ☐ |  |  |  |
| 13 | Cover to reinforcement correct | ☐ | ☐ | ☐ |  |  |  |
| 14 | Cast-in Items: - Piping - Electrical Conduits - Cast-in bolts/plates/angles - Earthing connectors - Dowel Bars | ☐ ☐ ☐ ☐ ☐ | ☐ ☐ ☐ ☐ ☐ | ☐ ☐ ☐ ☐ ☐ |  |  |  |
| 15 | All Cast-in items correct size / type / grade | ☐ | ☐ | ☐ |  |  |  |
| 16 | All Cast-in items installed correctly and fixed securely | ☐ | ☐ | ☐ |  |  |  |
| 17 | Check supplied concrete is as per mix specified | ☐ | ☐ | ☐ |  |  |  |
| 18 | Concrete Slump tested and within allowable tolerances | ☐ | ☐ | ☐ |  |  |  |
| 19 | Compressive Samples Taken | ☐ | ☐ | ☐ |  |  |  |
| 20 | Concrete delivered not older than 90mins | ☐ | ☐ | ☐ |  |  |  |

| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
|  | CONCRETE PLACEMENT |  |  |  |  |  |  |
| 21 | Concrete compacted method adequate | ☐ | ☐ | ☐ |  |  |  |
| 22 | Concrete temperature within 10°C – 32°C | ☐ | ☐ | ☐ |  |  |  |
| 23 | Planned placement not dropped freely from height > 1.5m | ☐ | ☐ | ☐ |  |  |  |
| 24 | Concrete placement planned in layers not exceeding 600mm | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |