| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | All duct work bolts are tensioned correctly | ☐ | ☐ | ☐ |  |  |  |
| 2 | Motor hold down bolts tensioned correctly | ☐ | ☐ | ☐ |  |  |  |
| 3 | Fan hold down bolts tensioned correctly. Bolt FIC completed | ☐ | ☐ | ☐ |  |  |  |
| 4 | Grouting under exhaust fan as per specification | ☐ | ☐ | ☐ |  |  |  |
| 5 | Extraction fan impellor rotated by hand to ensure free rotation | ☐ | ☐ | ☐ |  |  |  |
| 6 | Fan casing free of debris | ☐ | ☐ | ☐ |  |  |  |
| 7 | Fan dampers have free movement | ☐ | ☐ | ☐ |  |  |  |
| 8 | No interference between the dust extraction ducts & steelwork | ☐ | ☐ | ☐ |  |  |  |
| 9 | Duct work adequately supported | ☐ | ☐ | ☐ |  |  |  |
| 10 | Coupling on exhaust fan is decoupled awaiting direction test- Flexible Coupling check sheet FIC-0056 attached | ☐ | ☐ | ☐ |  |  |  |
| 11 | Guarding installed & secure | ☐ | ☐ | ☐ |  |  |  |
| 12 | All signage installed as per client specification | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |