| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. |  | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm no physical damage or defects. |  |  |  |
|  | Confirm expansion joint size, fabrication & installation is as per P&ID, design drawings and models. |  |  |  |
|  | Confirm expansion joint has been witnessed by the engineer prior to bolts being tightened. |  |  |  |
|  | Confirm no angling of joints as per SS-M198. |  |  |  |
|  | Piping and installation is as per SS-M198 - Piping Fabrication and Installation. |  |  |  |
|  | Correct gasket material and thickness have been installed as per specification. |  |  |  |
|  | Expansion joint and anchors installed as shown on the drawings. |  |  |  |
|  | Expansion joint and anchors installed as per manufacturers specification. |  |  |  |
|  | Confirm galvanized expansion joints have been coated with Cold Gal after install as per SS-M198. |  |  |  |
|  | Confirm correctly labelled using stainless steel tags in accordance with drawings and specifications. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |