| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

PRE TEST

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm relevant section of pipework has been fabricated as per design and is compliant to relevant piping spec prior to commencing hydrostatic test. |  |  |  |
|  | Where deemed necessary, in line instruments, expansion bellows, strainers, check valves, control valves & orifice plates have been removed or isolated from test. |  |  |  |
|  | Confirm temporary spools, strainers, test blinds, spades, vents & drains installed. |  |  |  |
|  | - Confirm temporary supports installed (if required). |  |  |  |

| - TEST DATA |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| - Test Gauge #1 (type) |  |  | - Pipe Size |  |  |  | - Test Fluid |  |  |  |
| - Serial No |  |  | - Wall Thickness |  | - mm |  | - Test Fluid Temp. |  | - °C |  |
| - Calibration Date |  |  | - Material |  |  |  | - Vessel/ Pipe Temp. |  | - °C |  |
| - Test Gauge #2 (type) |  |  | - Design Pressure |  |  |  | - Ambient Temp. |  | - °C |  |
| - Serial No |  |  | - Test Pressure |  |  |  |  |  |  |  |
| - Calibration Date |  |  |  |  |  |  |  |  |  |  |
|  |  | - Time |  | - Pressure |  | - Temp. |  | - Visual Leak Check |  |  |
| - Test Start |  |  |  |  |  | °C |  |  |  |  |
|  |  |  |  |  |  | °C |  |  |  |  |
|  |  |  |  |  |  | °C |  |  |  |  |
|  |  |  |  |  |  | °C |  |  |  |  |
| - Test Completion |  |  |  |  |  | °C |  |  |  |  |
| - NOTE: - Steel piping & fittings subject to a hydrostatic pressure test as specified in the design code used for the pipeline- either AS4041 section 6 or AS4037 section 17, 18 and 19. - Polyethylene piping & fittings shall be tested at 1.25 times the operating pressure (but not more than 1.25 times the MAOP) in accordance with AS2033. |  |  |  |  |  |  |  |  |

| - PRESSURE TEST RESULT |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - PASS |  | - FAIL |  | - RE- TEST REQUIRED |  |

- PRESSURE TEST PERFORMED BY:

| - ORGANISATION NAME |  |
| --- | --- |
| - TECHNICIAN NAME |  |
| - TECHNICIAN SIGNATURE |  |

POST TEST

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | - Confirm system fully drained after test. |  |  |  |
|  | - Confirm temporary spools, strainers, test blinds, spades, vents & drains removed. |  |  |  |
|  | Confirm in line instruments, expansion bellows, strainers, check valves, control valves & orifice plates have been reinstated. |  |  |  |
|  | Confirm new gaskets, as per the relevant specification, have been used where any item has been removed or reinstated. |  |  |  |
|  | Confirm orifice plates & valves have been reinstalled with the correct orientation. |  |  |  |
|  | Confirm all bolts are the correct size, rating & have been tensioned correctly. |  |  |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Item | Description | Yes | No | N/A | Comment | Confirmed by |
|  | All relevant P&IDs attached and highlighted to identify battery limit of particular line and valves constructed. |  |  |  |  |  |
|  | Contractor verified and approved as-built ‘Red Line’ drawings attached or sited by client and approved for official transmittal. |  |  |  |  |  |

| OUTSTANDING ITEMS |  |  |  |
| --- | --- | --- | --- |
| Item Description |  | Photo Attached Y/N | PL No. |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |