| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Manufacturer. | «Manufacturer» | Model No. | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

PRE TEST

| Item | Description | Accept | Reject | N/A | Comment |
| --- | --- | --- | --- | --- | --- |
|  | All red-lined / as-constructed drawings are complete and on hand for all lines associated with Service Test. |  |  |  |  |
|  | Limits of Service Test are identified and Exclusive Control Areas defined. |  |  |  |  |
|  | All isolations as identified on the Isolations List are complete. |  |  |  |  |
|  | - All Motive fluid pumps are energized and commissioned. |  |  |  |  |
|  | - All Flushing/Vent points are open and spotter in place (if required) |  |  |  |  |
|  | - All online instrumentation / guages / filters removed and isolated if first flushing to be performed. |  |  |  |  |
|  | - All temporary blinds / vents / spools / discharge points installed if first flushing to be performed. |  |  |  |  |
|  | - System charged as per specific JHA or proceedure and run until all entrained air is vented and system stable. |  |  |  |  |
|  | - Record relevant flow / duty conditions and compare to Performance Guarantees. |  |  |  |  |

| LENGTH OF PIPEWORK: |  |
| --- | --- |
| LARGEST PIPE OD: |  |
| FLUSH VOLUME TO BE USED: | (Min 2xVol) |
| MOTIVE FLUSH FLOW: | L/sec |
| FLUSH VELOCITY: | (min 2.0m/sec) |

| Test Point |  | Fluid / Medium | Flow Recorded | Pressure Recorded | Temperature Recorded | System Performance |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |

POST TEST

| Item No | Description | Accept | Reject | N/A | Comment |
| --- | --- | --- | --- | --- | --- |
|  | - All Mechanical joints and fittings inspected for Leaks / Weeps / Movement. |  |  |  |  |
|  | All thrust restraint inspected for movement or deformation. |  |  |  |  |
|  | - Valves / Bends / Orifice Plates checked for cavitation. |  |  |  |  |
|  | All leaks repaired and spills cleaned. |  |  |  |  |
|  | All instruments / gauges / pipe work reinstated, installed as per P&ID. |  |  |  |  |
|  | Red-line drawings reviewed and As-Commissioned if changes during commissioning are made. |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (NO PUNCHLIST ITEMS TO BE INCLUDED HERE) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |