| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «Manufacturer» | Model No. | «OEMPartNumber» |  |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. |  | «TaskName» |
| Additional Information: | «Comments» |  |  |  |

- LOAD COMMISSIONING

| Item | Description | Accept | Reject | N/A | Comment |
| --- | --- | --- | --- | --- | --- |
|  | Date of test: |  |  |  |  |
|  | - Pipe section tested (indicate on P&ID and attach): |  |  |  |  |
|  | Applicable Procedure_________________________ |  |  |  |  |
|  | Test fluid: |  |  |  |  |
|  | Test start. |  |  |  |  |
|  | - Time: |  |  |  |  |
|  | - Pressure: |  |  |  |  |
|  | - Flow Rate: |  |  |  |  |
|  | Test finish |  |  |  |  |
|  | - Time: |  |  |  |  |
|  | - Pressure: |  |  |  |  |
|  | - Flow Rate: |  |  |  |  |
|  | 100% of all pipe joins & fittings visually inspected for leaks: |  |  |  |  |
|  | Trenches backfilled, compacted and warning tape installed in accordance with the drawings: |  |  |  |  |
|  | Check for excessive pressure drop. |  |  |  |  |
|  | Check no passing of isolation valves when closed. |  |  |  |  |
|  | All valves checked for any visual or audible sign of leaks or cavitation. |  |  |  |  |
|  | All valves run smoothly through full range of motion. |  |  |  |  |
|  | All manual and actuated valves can be opened and closed during process operation without undue stress. |  |  |  |  |
|  | All valves stop flow without any signs of passing when fully closed. |  |  |  |  |
|  | All valves allow full flow through the system when fully open. |  |  |  |  |
|  | Valves show no signs of creep when set in the correct position. |  |  |  |  |
|  | Valves with stem gland packing set. |  |  |  |  |
|  | Valves show no sign of leakage via valve stems, flanges etc. |  |  |  |  |
|  | System functions as per design with no undue pressure spikes or drops, water hammer, leaks or cavitation. |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |