| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Manufacturer. | «ManufacturerName» | Model No. |  | «OEMPartNumber» |
| Field to record Serial No. | «SerialNumber» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |  |
| Additional Information: | «Comments» |  |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm instrument has a tag attached in accordance with project specifications. Tag should not be obstructed and easily readable. |  |  |  |
|  | Confirm the instrument is installed according to supplier and project requirements as per SS-J003. |  |  |  |
|  | Confirm all gaskets are as per project requirements/specifications as per SS-M120 and RVS-0000-SPE-P-002. |  |  |  |
|  | Confirm flange bolts installed meet specification as per SS-M120 and RVS-0000-SPE-P-002. |  |  |  |
|  | Confirm flange bolts tightened/torqued according to project specifications. |  |  |  |
|  | Confirm the instrument can be removed for service. |  |  |  |
|  | Confirm direction of flow (if applicable). |  |  |  |
|  | Confirm condition of instrument and ensure it is free of damage. |  |  |  |
|  | Confirm pipe strain checked – all flange/ nozzle connections to be aligned and stress free. |  |  |  |
|  | Confirm provision is made for locking the feed source open/shut where required. |  |  |  |
|  | Confirm instrument has been correctly installed, sealed and secured onto valve. Ensure all bolts and gaskets are of correct specification (if applicable). |  |  |  |
|  | Confirm safe access to instrument, that any ladders, platforms, stairways, and walkways required to access are installed and instrument does not impede access ways. |  |  |  |
|  | Confirm painting/touch up is complete and in accordance with project specifications. |  |  |  |
|  | Confirm earth-bonding is in accordance with project specification requirements. |  |  |  |
|  | Confirm insulation/ lagging is of correct type and fitted correctly as per specs (if required). |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |