| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | All piping & fittings inspected for any damage- scoring, indentations etc | ☐ | ☐ | ☐ |  |  |  |
| 2 | All pipe & fittings used correspond with the specified line class & specifications | ☐ | ☐ | ☐ |  |  |  |
| 3 | Piping fabrication & installation is as per P & ID and design drawings | ☐ | ☐ | ☐ |  |  |  |
| 4 | - All clearances, levels & alignments checked – Survey completed and report attached | ☐ | ☐ | ☐ |  |  |  |
| 5 | Material traceability reports have been viewed and deemed acceptable | ☐ | ☐ | ☐ |  |  |  |
| 6 | Piping gradients verified against relevant drawings & comply with client specification – Survey Report attached | ☐ | ☐ | ☐ |  |  |  |
| 7 | Jointing of PVC-U complies with client specification | ☐ | ☐ | ☐ |  |  |  |
| 8 | - Bedding materials & service marking strips installed as per drawings & client specification | ☐ | ☐ | ☐ |  |  |  |
| 9 | All instruments installed as per P & ID | ☐ | ☐ | ☐ |  |  |  |
| 10 | - All valves are the correct type & pressure rating as per the specified line class & specifications | ☐ | ☐ | ☐ |  |  |  |
| 11 | Valve orientation checked | ☐ | ☐ | ☐ |  |  |  |
| 12 | All valves labelled in accordance with the line class specification | ☐ | ☐ | ☐ |  |  |  |
| 13 | Drain valves/ lines are fitted as per design drawings & specifications | ☐ | ☐ | ☐ |  |  |  |
| 14 | All underground flex joints protected as per client specification | ☐ | ☐ | ☐ |  |  |  |
| 15 | Thrust blocks installed as per drawings & client specification | ☐ | ☐ | ☐ |  |  |  |
| 16 | All pipe supports installed as per relevant drawings & specification | ☐ | ☐ | ☐ |  |  |  |
| 17 | Piping system flushed (minus equipment & instruments which may be damaged) | ☐ | ☐ | ☐ |  |  |  |
| 18 | Line labelling completed as per the line class specification | ☐ | ☐ | ☐ |  |  |  |
| 19 | All temporary supports removed | ☐ | ☐ | ☐ |  |  |  |
| 20 | Service/ hydrostatic test conducted as per client specification. QU-FIC-0058 Attached | ☐ | ☐ | ☐ |  |  |  |
| 21 | Trenching & Backfill QU-FIC-0087 attached where applicable | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |