| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Overall system correct to P & ID and line list | ☐ | ☐ | ☐ |  |  |  |
| 2 | - Dimensional checks pre and post welding complete and accepted | ☐ | ☐ | ☐ |  |  |  |
| 3 | All weld inspection NDT and PWHT is complete with traceability in the MDR (visual inspection) | ☐ | ☐ | ☐ |  |  |  |
| 4 | Material specification and rating is correct per piping specification | ☐ | ☐ | ☐ |  |  |  |
| 5 | All material of construction correct and traceable | ☐ | ☐ | ☐ |  |  |  |
| 6 | - Correct gaskets are installed | ☐ | ☐ | ☐ |  |  |  |
| 7 | - All stud bolts are tight and correct for pressure testing | ☐ | ☐ | ☐ |  |  |  |
| 8 | - All vents and drains are installed (Add temporary vents and drains for testing if required) | ☐ | ☐ | ☐ |  |  |  |
| 9 | Supports, anchors, correct and set/adjusted (temporary supports installed if required) | ☐ | ☐ | ☐ |  |  |  |
| 10 | Valves have been checked, mechanically complete and in working order | ☐ | ☐ | ☐ |  |  |  |
| 11 | - Confirm flanges are correctly aligned and free of stress | ☐ | ☐ | ☐ |  |  |  |
| 12 | - Confirm no interface to rotation of spectacle blinds | ☐ | ☐ | ☐ |  |  |  |
| 13 | In-line items removed for pressure test eg. Valves & instruments (as required) | ☐ | ☐ | ☐ |  |  |  |
| 14 | - Check alignment on screwed connections | ☐ | ☐ | ☐ |  |  |  |
| 15 | - Check all pressure connections correct as per specification | ☐ | ☐ | ☐ |  |  |  |
| 16 | - Check all orifice taps have been plugged | ☐ | ☐ | ☐ |  |  |  |
| 17 | - Check operated valves are in correct position | ☐ | ☐ | ☐ |  |  |  |
| 18 | - Pressure test equipment and gauges are calibrated, certified and correct | ☐ | ☐ | ☐ |  |  |  |
| 19 | - Pressure test pack established and confirmed correct per spool being tested | ☐ | ☐ | ☐ |  |  |  |
| 20 | Test medium correct and certification sighted (if applicable) | ☐ | ☐ | ☐ |  |  |  |
| 21 | - Exclusion zone established | ☐ | ☐ | ☐ |  |  |  |
|  | - PRESSURE TEST |  |  |  |  |  |  |
| 22 | - Inspection conducted in accordance with relevant secions of pressure test procedure | ☐ | ☐ | ☐ |  |  |  |
| 23 | - Pressure test and ITR completed and acceptable | ☐ | ☐ | ☐ |  |  |  |
| 24 | - Test char and test instrumentation calibration sheets attached | ☐ | ☐ | ☐ |  |  |  |
| 25 | Test system/line drained of test medium, inspected and sealed | ☐ | ☐ | ☐ |  |  |  |
| 26 | Spool cleanliness & drying summary complete | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |