| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Confirm pressure testing is complete and documentation signed off | ☐ | ☐ | ☐ |  |  |  |
| 2 | - Confirm temporary items are removed ensuring tag numbers are correct | ☐ | ☐ | ☐ |  |  |  |
| 3 | Confirm all in-line valves are installed in correct orientation & operable | ☐ | ☐ | ☐ |  |  |  |
| 4 | Confirm all in-line instruments & equipment are installed correctly | ☐ | ☐ | ☐ |  |  |  |
| 5 | Confirm supports are correct type and installed correctly | ☐ | ☐ | ☐ |  |  |  |
| 6 | - Confirm all spring supports are the correct type & correctly installed with spring locks in place | ☐ | ☐ | ☐ |  |  |  |
| 7 | - Flange connections are free of stress and correctly aligned | ☐ | ☐ | ☐ |  |  |  |
| 8 | - Confirm strainers are installed and correct with drawings | ☐ | ☐ | ☐ |  |  |  |
| 9 | Confirm bolt tensioning / torqueing is completed, correct and lubricated | ☐ | ☐ | ☐ |  |  |  |
| 10 | - Confirm slope is correct (if applicable) | ☐ | ☐ | ☐ |  |  |  |
| 11 | - Confirm insulation is correct and complete (if applicable) | ☐ | ☐ | ☐ |  |  |  |
| 12 | Confirm line complies with latest revision P&ID’s | ☐ | ☐ | ☐ |  |  |  |
| 13 | - Confirm redline mark-up to drawings are complete | ☐ | ☐ | ☐ |  |  |  |
| 14 | - Confirm paint or galvanising touch-ups are completed (if required) | ☐ | ☐ | ☐ |  |  |  |
| 15 | - Confirm punchlist is approved and signed | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |