| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
|  | GENERAL |  |  |  |  |  |  |
| 1 | Piping fabricated/ installed as per the design drawings. Attach Piping FIC as applicable: HPPE Steel Welded Threaded PVC | ☐ | ☐ | ☐ |  |  |  |
| 2 | Flange torquing FIC attached | ☐ | ☐ | ☐ |  |  |  |
| 3 | Trenching completed and accepted by client. Attached QU-FIC-0087 | ☐ | ☐ | ☐ |  |  |  |
| 4 | Trench sand bedding free from any sharp objects & compacted along full length of trench | ☐ | ☐ | ☐ |  |  |  |
| 5 | Thrust blocks installed as per drawings | ☐ | ☐ | ☐ |  |  |  |
| 6 | - NDT completed & accepted | ☐ | ☐ | ☐ |  |  |  |
| 7 | - All red line as built information recorded. Survey report completed and attached | ☐ | ☐ | ☐ |  |  |  |
| 8 | - Cathodic protection installed as per client specification (if required) | ☐ | ☐ | ☐ |  |  |  |
| 9 | - No dissimilar metals placed in contact within the excavation | ☐ | ☐ | ☐ |  |  |  |
| 10 | - Valves installed as per drawings – Flow direction confirmed | ☐ | ☐ | ☐ |  |  |  |
| 11 | - Drains / flush points correctly Installed | ☐ | ☐ | ☐ |  |  |  |
|  | SURFACE TREATMENT |  |  |  |  |  |  |
| 12 | - Denso Primer applied evenly to all piping components | ☐ | ☐ | ☐ |  |  |  |
| 13 | Denso Mastic contour filler applied & profile suitable for subsequent tape wrapping | ☐ | ☐ | ☐ |  |  |  |
| 14 | - Denso Tape applied with a 55% overlap | ☐ | ☐ | ☐ |  |  |  |
| 15 | Denso MP/ HD tape applied with a 55% overlap | ☐ | ☐ | ☐ |  |  |  |
| 16 | Denso system extends 500mm above natural ground level | ☐ | ☐ | ☐ |  |  |  |
| 17 | Denso system visually checked for any damage or discontinuity | ☐ | ☐ | ☐ |  |  |  |
| 18 | Holiday (spark) testing conducted | ☐ | ☐ | ☐ |  |  |  |
|  | BACKFILL |  |  |  |  |  |  |
| 19 | System service tested or hydro tested prior to backfilling. QU-FIC-0058 Hydrostatic test attached | ☐ | ☐ | ☐ |  |  |  |
| 20 | Survey data for buried services undertaken- as per excavation permit requirement- prior to backfilling. Backfill QU-FIC-0087 attached. | ☐ | ☐ | ☐ |  |  |  |
| 21 | All valve & flushing point cover boxes installed | ☐ | ☐ | ☐ |  |  |  |
| 22 | Initial backfill material used is as specified in client specification | ☐ | ☐ | ☐ |  |  |  |
| 23 | Initial backfill compacted as per client specification. Soil compaction testing completed | ☐ | ☐ | ☐ |  |  |  |
| 24 | Ongoing backfill layered at no more than 200mm & compacted. Trenching Backfill QU-FIC-0087 attached | ☐ | ☐ | ☐ |  |  |  |
| 25 | Piping marker tape placed in ground, above piping, as shown on drawings | ☐ | ☐ | ☐ |  |  |  |
| 26 | All flushing points & valves marked with galvanized star picket marker posts as shown on drawings | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |