| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Installation as per drawing & specifications | ☐ | ☐ | ☐ |  |  |  |
| 2 | Location of installation correct | ☐ | ☐ | ☐ |  |  |  |
| 3 | Foundations complete & anchor bolts set | ☐ | ☐ | ☐ |  |  |  |
| 4 | - Anchor bolts tensioned correctly | ☐ | ☐ | ☐ |  |  |  |
| 5 | Height of installation correct | ☐ | ☐ | ☐ |  |  |  |
| 6 | Unit assembled as per manufacturers instruction | ☐ | ☐ | ☐ |  |  |  |
| 7 | Hose reel cabinet is securely mounted | ☐ | ☐ | ☐ |  |  |  |
| 8 | - Hose installed/ stored as per manufacturers specifications | ☐ | ☐ | ☐ |  |  |  |
| 9 | Piping tie in points checked- stud bolts tensioned, flange alignment, union tightened etc | ☐ | ☐ | ☐ |  |  |  |
| 10 | Hoses fully inspected for any defects | ☐ | ☐ | ☐ |  |  |  |
| 11 | - All signage installed as per client specification | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |