| INSPECTION ITEMS |  |
| --- | --- |
| 1 | Visual inspection conducted inside each spool indicates line is free of visible loose material / debris prior to fit up. |
| 2 | Spools have been pneumatically blown at an appropriate air flow rate and time frame to remove debris. |
| 3 | Spool cleanliness was completed using "Pressurised" blow through method. |
| 4 | The pipe spools inspected are free from visible signs of moisture left in the system. |

| Isometric Number | Spool Number | Checked By Civmec |  |  |  | Civmec QA/QC or Client Rep |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Pre Hydro |  | Post Hydro |  |  |
|  |  | Initial | Date | Initial | Date | Initial |

| All Spools are in satisfactory condition for fit up and installation. All applicable spools have been signed off, prior to final inspection |  |
| --- | --- |
| Dew Point: All spool ends have been checked after hydro and are free of moisture reaching a dew point of -15°C. | Civmec Initial |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |