| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
|  | GENERAL |  |  |  |  |  |  |
| 1 | Piping fabricated/ installed as per the design drawings | ☐ | ☐ | ☐ |  |  |  |
| 2 | NDT completed & accepted | ☐ | ☐ | ☐ |  |  |  |
| 3 | All red line as built information recorded | ☐ | ☐ | ☐ |  |  |  |
|  | PRE TEST |  |  |  |  |  |  |
| 12 | In line instruments, expansion bellows, strainers, check valves, control valves & orifice plates removed or isolated from test | ☐ | ☐ | ☐ |  |  |  |
| 13 | Temporary spools, strainers, test blinds, spades, vents & drains installed | ☐ | ☐ | ☐ |  |  |  |
| 14 | - Relevant piping checksheet has been completed to verify completion of piping system | ☐ | ☐ | ☐ |  |  |  |
| 15 | - Temporary supports installed (if required) | ☐ | ☐ | ☐ |  |  |  |
| 16 | Test equipment and gauges are calibrated, certified and correct | ☐ | ☐ | ☐ |  |  |  |
| 17 | Pressure test pack established and confirmed correct per spool being tested | ☐ | ☐ | ☐ |  |  |  |
| 18 | Test medium correct and certification sighted (if applicable) | ☐ | ☐ | ☐ |  |  |  |
|  | Exclusion zone established |  |  |  |  |  |  |
|  | POST TEST |  |  |  |  |  |  |
| 19 | - System fully drained after test | ☐ | ☐ | ☐ |  |  |  |
| 20 | - Temporary spools, strainers, test blinds, spades, vents & drains removed | ☐ | ☐ | ☐ |  |  |  |
| 21 | In line instruments, expansion bellows, strainers, check valves, control valves & orifice plates have been reinstated | ☐ | ☐ | ☐ |  |  |  |
| 22 | New gaskets, as per the relevant specification, have been used where any item has been removed or reinstated | ☐ | ☐ | ☐ |  |  |  |
| 23 | Orifice plates & valves have been reinstalled with the correct orientation | ☐ | ☐ | ☐ |  |  |  |
| 24 | All bolts are the correct size, rating & have been tensioned correctly | ☐ | ☐ | ☐ |  |  |  |

| SPOOLS LIST |  |  |  |
| --- | --- | --- | --- |
| P & ID | Isometric Number | Line Number | Spool Number |

| TEST SPECIFICATION |  |  |  |
| --- | --- | --- | --- |
| Design Pressure (kPa) |  | Test Duration |  |
| Test Pressure (kPa) |  | Tested By (Name) |  |
| Ambient Temperature: |  | (Organisation) |  |
| Test Medium |  | (Signature) |  |

| TEST EQUIPMENT DATA |  |  |  |
| --- | --- | --- | --- |
| Equipment | Pressure Range | Serial Number | Calibration Cert Number |
| Pressure Gauge 1 |  |  |  |
| Pressure Gauge 2 |  |  |  |
| Pressure Recorder |  |  |  |
| Ambient Temperature Recorder |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |