| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Ducts fabricated in accordance with the drawings and specifications, installed, levelled and aligned and correct to drawings. | ☐ | ☐ | ☐ |  |  |  |
| 2 | Support structure correct and connections to ducting bolted / welded in accordance with the drawings and specifications. | ☐ | ☐ | ☐ |  |  |  |
| 3 | Duct supports fabricated in accordance with the drawings and duct supports installed and correct. | ☐ | ☐ | ☐ |  |  |  |
| 4 | All sliding and fixed points fabricated and installed correctly. | ☐ | ☐ | ☐ |  |  |  |
| 5 | All bolted connections are correctly tightened and bolts marked in accordance with the SOW and specifications. | ☐ | ☐ | ☐ |  |  |  |
| 6 | Temporary supports installed where applicable. | ☐ | ☐ | ☐ |  |  |  |
| 7 | Ducts fabricated in accordance with the drawings and specifications, installed, levelled and aligned and correct to drawings. | ☐ | ☐ | ☐ |  |  |  |
| 8 | Compensators supplied and installed and correct. | ☐ | ☐ | ☐ |  |  |  |
| 9 | Guide tubes supplied and installed and correct. | ☐ | ☐ | ☐ |  |  |  |
| 10 | Slide gate valves correctly fabricated and installed. | ☐ | ☐ | ☐ |  |  |  |
| 11 | Dampers correctly fabricated and installed. | ☐ | ☐ | ☐ |  |  |  |
| 12 | Flanged connections correctly fabricated and installed. | ☐ | ☐ | ☐ |  |  |  |
| 13 | Welding completed and accepted. | ☐ | ☐ | ☐ |  |  |  |
| 14 | Gaskets correctly supplied and installed. | ☐ | ☐ | ☐ |  |  |  |
| 15 | Insulation correctly supplied and installed. | ☐ | ☐ | ☐ |  |  |  |
| 16 | All inspection ports / doors fabricated in accordance with the drawings and specifications. | ☐ | ☐ | ☐ |  |  |  |
| 17 | Surface treatment, painting and identification correct. | ☐ | ☐ | ☐ |  |  |  |
| 18 | All debris and waste material removed. | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |