| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm installation against drawings, models and standards and survey report is attached. |  |  |  |
|  | Confirm installation complies with AS1418, AS2550 and vendor requirements. |  |  |  |
|  | Confirm monorail supplied/fabricated correct as per design drawings and free from damage. |  |  |  |
|  | Confirm beam and rail tolerances meet AS1418. |  |  |  |
|  | Confirm all rail clips installed correctly as per MA-0000-S-1005. |  |  |  |
|  | Confirm fabrication and erection complies with AS3990. |  |  |  |
|  | Confirm cast in plates, cleats and inserts are in the correct location and installed to all standards and specifications. |  |  |  |
|  | Confirm correct grade bolts installed and torqued as per design. (S1.014 Completed) |  |  |  |
|  | Confirm End Stops and damper pads fitted to monorail. |  |  |  |
|  | Confirm monorail painted Golden Yellow Y14. |  |  |  |
|  | Confirm earthing installed as per AS3000 and all connections tight. |  |  |  |
|  | Confirm protective coatings comply with SS-P118 and any touch up has been completed. |  |  |  |
|  | Confirm correct WLL displayed as per design and in accordance with MA-0000-S-1005 and AS1418. |  |  |  |
|  | Confirm Classified Plant number displayed in accordance with EP-A003. |  |  |  |
|  | Confirm all tracks thoroughly inspected and cleaned of all debris. |  |  |  |
|  | Weld maps complete and attached. |  |  |  |
|  | Confirm vendor report complete, accepted and attached to (S1.099 – Vendor ITR) |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |