| Tag No. «Name» - «Description» | Task No. «TaskName» |
| --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |
| Drawing No. «DocumentList» |  |
| Additional Information: «Comments» |  |

| Item | Description |  |  |  | OK |  | N/A | Punch |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Anchor bolt positions correct and checked against drawing. |  |  |  |  |  |  |  |
|  | Anchor bolts vertical/plumb. |  |  |  |  |  |  |  |
|  | Anchor bolts projection correct. |  |  |  |  |  |  |  |
|  | Anchor bolt threads clean and undamaged. |  |  |  |  |  |  |  |
|  | Other embedded items checked and correct. |  |  |  |  |  |  |  |
|  | All sleeves to be checked and completed before placement of structure or equipment. |  |  |  |  |  |  |  |
|  | Block-outs cleaned and protected from ingress of debris. |  |  |  |  |  |  |  |
|  | Foundations completed as per design drawings and specifications and accepted. |  |  |  |  |  |  |  |
| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |  |  |
|  |  | Item | Initial | N/A |  | Comments |  |  |
| 1 |  | Anchor bolt positions marked-up on drawing ‘AS-BUILT’ and attached |  |  |  |  |  |  |
| 2 |  | Survey Report of anchor bolts attached |  |  |  |  |  |  |
| 3 |  | All Punchlist items noted on a separate Punchlist form and submitted for entry into CCMS. |  |  |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punch List Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |