| Tag No. «Name» - «Description» |  |  |  |
| --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |
| Drawing No. | «DocumentList» | Task No. | «TaskName» |
| Additional Information: | «Comments» |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Confirm materials of construction are as per specifications and drawings. |  |  |  |
|  | Confirm support structure is accepted. |  |  |  |
|  | Confirm all welding works completed and tested as required. |  |  |  |
|  | Confirm all bolted connections including hold down, flange and liner bolts are tensioned and marked correctly and there is no distortion to flange faces. |  |  |  |
|  | Confirm all supporting structure and dust covers are secure and all bolts tensioned/ wedges fitted. |  |  |  |
|  | Confirm all inspection doors and openings are correctly fabricated and installed in accordance with the drawings and locking mechanism freely operate and both doors close & seal correctly. |  |  |  |
|  | Confirm inner inspection doors painted yellow Y14 as per SS-P118 |  |  |  |
|  | Confirm signage & equipment labelling installed. |  |  |  |
|  | Confirm all debris and waste material removed and remedial surface treatment completed as per specification. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |

TYPICAL SURVEY TEMPLATE