| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Drawing No. | «DocumentList» |  | Task No. | «TaskName» |
| Additional Information: |  | «Comments» |  |  |

| Item | Description |  |  |  |  | OK | N/A | Punch |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Cleanliness of steel acceptable (dirt, dust, tags removed). |  |  |  |  |  |  |  |
|  | Foundation inspection and testing complete and accepted. (C1.010 complete) |  |  |  |  |  |  |  |
|  | Pole/structure free from damage. |  |  |  |  |  |  |  |
|  | Footings installed as per MA-0000-C-00017 and MA-0000-C-00018 |  |  |  |  |  |  |  |
|  | Light pole is as per data sheets and specifications. |  |  |  |  |  |  |  |
|  | Lighting fixtures installed, checked for integrity and safety chain installed. |  |  |  |  |  |  |  |
|  | Correct counterweights installed and checked as per vendor recommendations. Pole has been tested for counterbalance through full range of motion. |  |  |  |  |  |  |  |
|  | Access doors fitted. |  |  |  |  |  |  |  |
|  | Anchor bolts and washers checked and accepted. |  |  |  |  |  |  |  |
|  | All structural bolts and bolted connections meet project specifications, checked and accepted. (S1.014 completed) |  |  |  |  |  |  |  |
|  | Verticality and level survey completed. |  |  |  |  |  |  |  |
|  | Protective coatings applied to suit SS-P118 and RVS-0000-SPE-S-003 and all touch-up painting completed. |  |  |  |  |  |  |  |
|  | Earthing completed and accepted. |  |  |  |  |  |  |  |
|  | Base-plates grouted and accepted. (S1.016 completed) |  |  |  |  |  |  |  |
|  | Survey report attached. |  |  |  |  |  |  |  |
| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |  |  |
|  |  | Item | Initial | N/A | Comments |  |  |  |
| 1 |  | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |  |  |  |
| 2 |  | All Punchlist items noted on a separate Punchlist form and submitted. |  |  |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punchlist Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Title: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |