| Tag No. «Name» - «Description» |  |  |  |  |
| --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |
| Drawing No. | «DocumentList» |  | Task No. | «TaskName» |
| Additional Information: |  | «Comments» |  |  |

| Item | Description | OK | N/A | Punch |
| --- | --- | --- | --- | --- |
|  | Cleanliness of steel acceptable (dirt, dust, tags removed). |  |  |  |
|  | Foundation inspection and testing complete and accepted (S1.015 complete) |  |  |  |
|  | Structure free from damage |  |  |  |
|  | Members match and are free of distortion. |  |  |  |
|  | Check proper use of taper washers and flat washers for slotted holes where required. |  |  |  |
|  | Check to ensure ALL stiffeners are installed. |  |  |  |
|  | Shims installed as required and acceptable. Minimal number of shims to be used (e.g. 20mm adjustment is shimmed with single 20mm shim, not 2 x 10mm shims) |  |  |  |
|  | Anchor bolts checked and accepted |  |  |  |
|  | All structural bolts checked and accepted (S1.014 complete) |  |  |  |
|  | Verticality and level survey completed |  |  |  |
|  | Welding & NDT of field welds completed and accepted (where required) NDT and Weld map reviewed |  |  |  |
|  | Misc brackets and supports complete and acceptable |  |  |  |
|  | Stairs, ladders and handrails checked and accepted (S1.017 and S1.018 complete) |  |  |  |
|  | All touch-up painting completed |  |  |  |
|  | Base-plates grouted and accepted (S1.016 complete) |  |  |  |
|  | Survey report attached |  |  |  |

| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Item | Initial | N/A | Comments |
| 1 | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |
| 2 | All Punchlist items noted on a separate Punchlist form and submitted for. |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punch List Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Date: |  | Date: |  | Date: |  |