| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Foundations & anchor bolts surveyed & deemed correct | ☐ | ☐ | ☐ |  |  |  |
| 2 | Fabricated steel tanks built in compliance with API 650/ AS1692, design drawings & specifications | ☐ | ☐ | ☐ |  |  |  |
| 3 | All materials as per specifications & drawings | ☐ | ☐ | ☐ |  |  |  |
| 4 | All dimensions check & comply within tolerances on drawings & specifications | ☐ | ☐ | ☐ |  |  |  |
| 5 | Tanks surveyed for correct verticality & roundness | ☐ | ☐ | ☐ |  |  |  |
| 6 | Nozzle/ penetrations surveyed for correct level & orientation | ☐ | ☐ | ☐ |  |  |  |
| 7 | Material traceability reports have been viewed and deemed acceptable | ☐ | ☐ | ☐ |  |  |  |
| 8 | Weld traceability reports attached | ☐ | ☐ | ☐ |  |  |  |
| 9 | NDT requirements have been undertaken as per the client specification, results have been viewed & deemed acceptable | ☐ | ☐ | ☐ |  |  |  |
| 10 | - Baffles & internal trims installed as per drawings | ☐ | ☐ | ☐ |  |  |  |
| 11 | Agitator/ rake installed correctly & FIC-0003 Drives, FIC-0056 Flex Coupling check sheets attached | ☐ | ☐ | ☐ |  |  |  |
| 12 | Overfill pipes & drains installed as per drawings | ☐ | ☐ | ☐ |  |  |  |
| 13 | All man holes & vents installed as per drawings | ☐ | ☐ | ☐ |  |  |  |
| 14 | All tie- in piping flanges connected & correct grade gaskets installed | ☐ | ☐ | ☐ |  |  |  |
| 15 | - Launders installed & sealed as per drawings & specifications | ☐ | ☐ | ☐ |  |  |  |
| 16 | Verify correct bolt up of inspection doors & man holes- including gasket type | ☐ | ☐ | ☐ |  |  |  |
| 17 | - Access ladders, platforms & stairways installed as per drawings & specification | ☐ | ☐ | ☐ |  |  |  |
| 18 | - Internal coatings/ linings installed as per design specification | ☐ | ☐ | ☐ |  |  |  |
| 19 | - Internal cleaning completed | ☐ | ☐ | ☐ |  |  |  |
| 20 | - External coatings applied as per specification | ☐ | ☐ | ☐ |  |  |  |
| 21 | - Insulation installed as per specification | ☐ | ☐ | ☐ |  |  |  |
| 22 | - Fire protection completed as per specification | ☐ | ☐ | ☐ |  |  |  |
| 23 | - All guarding installed | ☐ | ☐ | ☐ |  |  |  |
| 24 | - Nameplate installed correctly | ☐ | ☐ | ☐ |  |  |  |
| 25 | - All signage installed as per client specification | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |