| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | All gridmesh is supplied and installed as per drawings and specifications. | ☐ | ☐ | ☐ |  |  |  |
| 2 | All gridmesh panel edges are positioned over supporting members. | ☐ | ☐ | ☐ |  |  |  |
| 3 | All gridmesh panels secure on 4 side to prevent dislodgement or sliding.Spigot tabs installed where not secured on all 4 sides | ☐ | ☐ | ☐ |  |  |  |
| 4 | Maximum horizontal gap between all gridmesh panels does not exceed 10mm at any point. | ☐ | ☐ | ☐ |  |  |  |
| 5 | All panel load bars are securely and fully welded to floor penetration collars. | ☐ | ☐ | ☐ |  |  |  |
| 6 | All kick plates are in place as required in accordance with the drawings and specifications. | ☐ | ☐ | ☐ |  |  |  |
| 7 | All gridmesh has been installed in accordance with the requirements with the Client Grid Mesh Installation procedures | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |