| INSPECTION ITEMS |  | YES | NO | N/A | REMARKS | SIGN OFF |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | CIVMEC | CLIENT |
| 1 | Foundations as per AFC drawings & verified by survey | ☐ | ☐ | ☐ |  |  |  |
| 2 | All members correct as per AFC drawings | ☐ | ☐ | ☐ |  |  |  |
| 3 | All temporary supports removed | ☐ | ☐ | ☐ |  |  |  |
| 4 | Steelwork installed correctly as per AFC Drawings | ☐ | ☐ | ☐ |  |  |  |
| 5 | Bolted connections checked for correct sizing, finish, grade, nut/ washer combination & tension as specified in AFC Drawings / Client Specification / AS4100. QU-FIC-0075 Attached | ☐ | ☐ | ☐ |  |  |  |
| 6 | Plate washers installed to slotted holes where applicable | ☐ | ☐ | ☐ |  |  |  |
| 7 | All welded joints completed and inspected per approved WPS, ITP signed, NDT undertaken as per AFC Drawings / Client Specification / AS/NZ 1554.1 NDT Reports reviewed and compliant | ☐ | ☐ | ☐ |  |  |  |
| 8 | Shims/ packing of correct type & sizing installed where specified | ☐ | ☐ | ☐ |  |  |  |
| 9 | Verticality/ alignment & RL survey conducted & results comply with AFC Drawings / AS 4100- Survey report attached | ☐ | ☐ | ☐ |  |  |  |
| 10 | Grouting complete & complies as per client specification. QU-FIC-0004 Attached | ☐ | ☐ | ☐ |  |  |  |
| 11 | All earthing complete – Relevant E&I FIC’s completed | ☐ | ☐ | ☐ |  |  |  |
| 12 | All expansion joints installed correctly | ☐ | ☐ | ☐ |  |  |  |
| 13 | All stairways installed correctly as per AFC Drawings & Std Drawing | ☐ | ☐ | ☐ |  |  |  |
| 14 | Access ladders, safety cages & gates installed correctly as per AFC Drawings & Std Drawing | ☐ | ☐ | ☐ |  |  |  |
| 15 | Floor plate/ gridmesh & fixings installed correctly as per AFC Drawings & Std Drawing | ☐ | ☐ | ☐ |  |  |  |
| 16 | Lifting lugs comply with AFC Drawings/ Std Drawing & NDT completed. Lifting lug certification and NDT reports compliant and approved. | ☐ | ☐ | ☐ |  |  |  |
| 17 | Handrailing, kickplate & mesh panels installed correctly as per AFC Drawings & Std Drawing | ☐ | ☐ | ☐ |  |  |  |
| 18 | All surface treatments inspected & comply with client specification. Surface Treatment Reports reviewed and approved. | ☐ | ☐ | ☐ |  |  |  |
| 19 | Signage & equipment labelling installed as per client specification | ☐ | ☐ | ☐ |  |  |  |
| 20 | Structure & surrounding area clean & clear from all debris | ☐ | ☐ | ☐ |  |  |  |

COMMENTS:

| CIVMEC | Name | Signed | Date |
| --- | --- | --- | --- |
| CLIENT | Name | Signed | Date |