| Tag No. «Name» - «Description» |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Subsystem: «ProcessBreakdownIdentifier» - «ProcessBreakdownName» |  |  |  |  |  |  |  |  |  |  |  |
| Manufacturer. |  |  | «ManufacturerName» |  |  |  | Model No. |  | «OEMPartNumber» |  |  |
| Field to record Serial No. |  |  | «SerialNumber» |  |  |  |  |  |  |  |  |
| Drawing No. |  |  | «DocumentList» |  |  |  | Task No. |  | «TaskName» |  |  |
| Additional Information: |  |  | «Comments» |  |  |  |  |  |  |  |  |
| Item | Description |  |  |  |  |  |  | OK |  | N/A | Punch |
|  | Mounting is firm, IP rating not compromised and not subject to vibration. |  |  |  |  |  |  |  |  |  |  |
|  | Confirm Labelling is as per design. |  |  |  |  |  |  |  |  |  |  |
|  | Confirm FOBOT equipment numbering is as per design. |  |  |  |  |  |  |  |  |  |  |
|  | Confirm FOBOT Cabinet Location and orientation is correct. |  |  |  |  |  |  |  |  |  |  |
|  | Ensure cable bending radius has not been exceeded. |  |  |  |  |  |  |  |  |  |  |
|  | Ensure service loop within break out tray is sufficient and as per standard practice and the loops are wound through the supplied management rings. |  |  |  |  |  |  |  |  |  |  |
|  | Confirm pigtail colour coding or fibre identification is correct and maintained. |  |  |  |  |  |  |  |  |  |  |
|  | All spare cores are intact, identified, Left in FOBOT tray or terminated. |  |  |  |  |  |  |  |  |  |  |
|  | Confirm all fibre through adaptors or connectors are of the specified type, are secure and are terminated as per the interconnection layout diagrams |  |  |  |  |  |  |  |  |  |  |
|  | Confirm cable management of external fibre looms are neat, cables supported with ducting covers fitted where applicable. |  |  |  |  |  |  |  |  |  |  |
|  | FOBOT cable entry boots / glands are correctly fitted and installed as per manufacturer’s requirements. |  |  |  |  |  |  |  |  |  |  |
|  | Confirm all connectors faces are clean and undamaged |  |  |  |  |  |  |  |  |  |  |
|  | Cable identification tags are fitted |  |  |  |  |  |  |  |  |  |  |
|  | FOBOT clean and free from debris internally and externally. |  |  |  |  |  |  |  |  |  |  |
|  | Confirm all building cable entry’s and cable ducts have been sealed |  |  |  |  |  |  |  |  |  |  |
| COMPLETIONS & CLIENT ACCEPTANCE REQUIREMENTS – CONTRACTOR CHECK LIST |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Item |  | Initial | N/A | Comments |  |  |  |  |  |
| 1 |  | All site modifications correctly marked up on master drawings as per project procedures. |  |  |  |  |  |  |  |  |  |
| 2 |  | This form must be completed by an AMCA Registered Cabler. |  |  |  |  |  |  |  |  |  |

| COMMENTS, OBSERVATIONS & ATTACHMENTS (Complete a Punch List Form and attach if any of the checks above marked as “Punch”) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| COMPLETED |  |  |  |  |  |
| I hereby confirm the work has been completed in accordance with Contract specified drawings, specifications & standards. |  |  |  |  |  |
| PERFORMED BY CONTRACTOR: |  | REVIEW BY SUPERVISOR/LEAD ENGINEER: |  | EPCM ACCEPTED BY: |  |
| Signature: |  | Signature: |  | Signature: |  |
| Name: |  | Name: |  | Name: |  |
| Registration No: |  | Title: |  | Title: |  |
| Date: |  | Date: |  | Date: |  |